# Article Title:  Artificial Intelligence for Atrial Fibrillation Detection, Prediction, and Treatment: A Systematic Review of the Last Decade (2013-2023)

# Article Category:

Advanced Review

# Authors:

Massimo Salvi * Biolab, PolitoBIOMedLab, Department of Electronics and Telecommunications, Politecnico di Torino, Turin, Italy. Email: massimo.salvi@polito.it. ORCID iD: 0000-0001-7225-7401

Madhav R Acharya Department of Biomedical Engineering, Manipal Academy of Higher Education, Manipal 04478, India. Email: mad.ach1701@gmail.com

Silvia Seoni Biolab, PolitoBIOMedLab, Department of Electronics and Telecommunications, Politecnico di Torino, Turin, Italy. Email: silvia.seoni@polito.it. ORCID iD: 0000-0001-5372-2654

Oliver Faust School of Computing and Information Science, Anglia Ruskin University Cambridge Campus, UK. Email: oliver.faust@aru.ac.uk ORCID iD: 0000-0002-3979-4077

Ru-San Tan National Heart Centre Singapore, Singapore; Duke-NUS Medical School, Singapore. Email: tanrsnhc@gmail.com ORCID iD: 0000-0003-2086-6517

Prabal Datta Barua School of Business (Information System), University of Southern Queensland, Toowoomba, QLD 4350, Australia Faculty of Engineering and Information Technology, University of Technology Sydney, Sydney, NSW 2007, Australia. Email: Prabal.Barua@unisq.edu.au ORCID iD: 0000-0001-5117-8333

Salvador García Andalusian Research Institute in Data Science and Computational Intelligence, Department of Computer Science and Artificial Intelligence, Universidad de Granada, Granada, Spain Email: salvagl@decsai.ugr.es

Filippo Molinari Biolab, PolitoBIOMedLab, Department of Electronics and Telecommunications, Politecnico di Torino, Turin, Italy. Email: filippo.molinari@polito.it. ORCID iD: 0000-0003-1150-2244

U. Rajendra Acharya School of Mathematics, Physics and Computing, University of Southern Queensland, Springfield, Australia Centre for Health Research, University of Southern Queensland, Australia Email: Rajendra.Acharya@unisq.edu.au. ORCID iD: 0000-0003-2689-8552

Conflict of Interest

The authors have no declared conflicts of interest.

Abstract

Atrial fibrillation (AF) affects more than 30 million individuals worldwide, making it the most prevalent cardiac arrhythmia on a global scale. This systematic review summarizes recent advancements in applying artificial intelligence (AI) techniques for AF detection, prediction, and guiding treatment selection and risk stratification. In adherence with the PRISMA guidelines (Preferred Reporting Items for Systematic Reviews and Meta-Analyses), a total of 171 pertinent studies conducted between 2013 and 2023 were examined. Studies applying machine learning (ML) and deep learning (DL) to electrocardiogram (ECG), photoplethysmography (PPG), wearable data, and other sources were evaluated. For AF detection, most works employed DL (48 studies) and ML (28 studies) on ECG data. DL methods directly analyzed ECG waveforms and outperformed approaches relying on hand-crafted features. For prediction and risk stratification, 22 studies used ML while 7 leveraged DL on ECG. An emerging trend showed the growing potential of PPG for AF screening. Overall, AI demonstrated promising capabilities across various AF-related tasks. However, real-world implementation faces challenges including a lack of interpretability, the need for multimodal data integration, prospective performance validation, and regulatory compliance. Future research directions involve quantifying model uncertainty, enhancing transparency, and conducting population-based clinical trials to facilitate translation into practice.

Graphical/Visual Abstract and Caption

# 1. Introduction

Atrial fibrillation (AF) is a common heart rhythm disorder characterized by irregular and often rapid heart rhythm, AF is closely linked to a range of cardiovascular and systemic diseases. Notably, AF significantly increases the risk of stroke, accounting for approximately 20% of all strokes (Benjamin et al., 1998). It is also associated with heart failure, doubling the risk of its development (T. J. Wang et al., 2003). Overall, AF contributes substantially to healthcare costs, hospitalizations, resource utilization, and national socioeconomic burdens (Kim et al., 2018).

## To effectively address these health challenges, accurate and timely detection of AF is crucial. Early diagnosis and intervention can significantly mitigate associated risks and healthcare costs. Hence, there is an urgent need to develop and implement advanced detection methods and technologies to combat the growing global burden of AF. The diagnosis of AF entails various measurement methods, each providing unique insights for a comprehensive assessment. The most common signal used for AF diagnosis is electrocardiography (ECG), which is a non-invasive technique that records the heart's electrical activity. The characteristic features of AF on ECG are the absence of consistent P-waves and irregular RR intervals (Faust et al., 2020). Whichever signal source is used, data interpretation and medical decision-making still heavily rely on human experts, leading to potential variability. Efforts are being made to mitigate these variabilities by standardizing protocols, providing clear guidelines, and conducting regular training and calibration sessions for operators. Standardization facilitates the automation of AF detection and the development of decision-support tools that operate on standardized data. Ongoing research aims to identify the most effective decision support tools for enhancing AF detection, risk stratification, and prediction, necessitating a comprehensive review of available AF detection algorithms.

## This review paper aims to provide a comprehensive investigation into the application of AI methods for the detection and prediction of AF across diverse data sources. The key contributions of this review paper are listed below:

- Our review covers a wide range of AI methods applied to diverse data sources for AF detection and prediction, including ECG, PPG, wearable sensors, and more. This comprehensive approach provides a holistic view of the current landscape of methodologies.

- We analyze and compare the application of both Machine Learning (ML) and Deep Learning (DL) algorithms for AF detection, offering insights into their respective advantages and limitations. This integration of multiple AI approaches provides a comprehensive understanding of their potential in AF diagnosis and prediction.

- We assess the diagnostic potential of AI methods in AF detection and explore their impact on healthcare, including their ability to improve early detection, risk stratification, and patient outcomes. This analysis provides valuable insights into the practical implications of AI in clinical practice.

- We highlight the limitations of previous review papers in terms of their scope and focus and position our review as a more comprehensive and up-to-date analysis of AI methods for AF detection and prediction. We encompass recent methodologies based on DL, as well as other relevant data sources beyond ECG and wearable sensors.

# 2. METHODS

To identify the most applicable articles involving the application of artificial intelligence in the context of atrial fibrillation, we closely adhered to the PRISMA guidelines. This method enabled the identification of studies utilizing both traditional machine learning techniques and advanced deep learning models for the detection, classification, and monitoring of atrial fibrillation.

2.1 Search strategy

We searched PubMed, the Institute of Electrical and Electronics Engineers (IEEE), Mendeley, and Scopus databases for articles published up to December 2023 using the keywords "Atrial Fibrillation", "Artificial Intelligence", "Machine Learning", "Deep Learning", "ECG", "Electrocardiogram", "PPG", "Photoplethysmography", "HRV", "Heart Rate Variability", and "Automated Detection" in their Boolean combinations. We excluded non-English publications, articles that were not peer-reviewed, review articles, pilot studies, abstracts, book chapters, articles published prior to 2013, and those not accessible in full-text format. Study authors (M.S., M.A., S.S.) reviewed abstracts and/or full manuscripts for relevance to the study. A final selection of 171 articles, focusing on AI and AF, were included in this review (Figure 1).

Figure 1. Study search strategy in accordance with PRISMA guidelines. Papers published in non-Q1 journals were excluded from this review.

# 3. RESULTS

3.1 Atrial fibrillation detection

## The works on AF detection (full list in Appendix Table A1) are categorized by the models employed into ML, DL, and hybrid groups, and are mostly based on ECG signal inputs (Figure 2).

Figure 2. Distribution of the papers based on the macro-technique employed for AF detection (a); and based on the data used (b). ECG was used in 81% of the studies reviewed, either exclusively or in combination with other inputs.

3.1.1 Atrial fibrillation detection with machine learning

## Most ML models used ECG input signal for AF detection (Agliari et al., 2020; Alhusseini et al., 2020; Buscema et al., 2020; Domazetoski et al., 2022; K. He et al., 2022; Huang et al., 2021; Nickelsen et al., 2017; Pérez-Valero et al., 2019; Rad et al., 2021; Rouhi et al., 2021; Schaefer et al., 2014; Wesselius et al., 2022; Yao et al., 2021). Abdul-Kadir et al. (Abdul-Kadir et al., 2016) developed an AF recognition method based on dynamic ECG features extracted using the concept of a second-order dynamic system. They utilized these features to train a SVM which achieved accurate classification performance in detecting AF. Asgari et al. (Asgari et al., 2015) used SVM classifier and wavelet transform to detect AF episodes. In both Daqrouq et al. (Daqrouq et al., 2014) and Fuadah et al. (Fuadah & Lim, 2022), wavelet transform was performed, and average framing percentage energy was calculated from wavelet packet transform sub-signals to extract feature vectors used for downstream classification. Bashar et al. (Bashar et al., 2020; Bashar, Han, et al., 2021) combined features from P-wave characteristics and ECG R-R interval variability to detect AF. García-Isla et al. (García-Isla et al., 2021) and Gupta et al. (Gupta et al., 2023), employed local mean decomposition to decompose ECG data and extract entropy-based features, then they used an ensemble boosted trees classifier for AF detection. Hartikainen et al. (Hartikainen et al., 2019) used ECG data from Holter recordings using entropy measures to detect AF. Kollias et al. (Stergiou et al., 2018) assess the accuracy of AF detection of a 24 hour blood pressure device in elderly subjects, achieving a 100% sensitivity and 85% specificity. Huai-Ting Li et al. (H. T. Li et al., 2019) proposed a lightweight and robust ensemble framework that take advantage of eigenspace transformation for classifying compressed ECG signals and detecting AF. Their lightweight and hardware-friendly design demonstrated robustness to noise and interference, achieving an accuracy of 94.5%. Kalidas et al. (Kalidas & Tamil, 2019) used discrete-state Markov probabilities and random forests to classify AF based on RR-interval variability, normality, and entropy calculated from single-lead ECG recordings. A similar approach was followed by Keidar et al. (Keidar et al., 2021), who calculated the mean, normality, and variability of the entropy scale to quantify irregularities in heart rate patterns and identify AF episodes. Mandala et al. (Mandala et al., 2023)  evaluated the impact of wavelet basis function and decomposition level on AF detection from ECG signals. Wavelet coefficient features were extracted and classified with SVM. Lee et al. (Lee et al., 2013) introduced a novel method that calculated time-varying coherence function values from two time-varying transfer functions, which measure frequency variations between two adjacent beat segments, to detect AF. An approach proposed by Li et al. (X. Li et al., 2021) introduced a classification framework that distinguishes different levels of fibrillation organization by utilizing band-power features extracted from ECG signals. These features were then inputted into a linear discriminant analysis classifier to predict the occurrence of AF. Mateo et al. (Mateo & Joaquín Rieta, 2013) proposed a novel QRST cancellation technique utilizing a radial basis function neural network to detect AF from single or multi-lead ECG recordings. To detect AF, Chen et al. (E. Chen et al., 2020) and Dörr et al. (Dörr et al., 2019) applied AI algorithms to analyze combined PPG and single-lead ECG sensor signals from wearable wristband devices. They attained high accuracy rates. Instead of ECG, Bruser et al. (Brüser et al., 2013) recorded ballistocardiography (BCG) signals using a single bed-mounted vibration sensor to detect AF. They extracted time-domain and time-frequency features to train seven ML algorithms, which classified 30-second BCG epochs into sinus rhythm, AF, and artifact categories. Zalabarria et al. (Zalabarria et al., 2020) employed a neural network to detect AF using features extracted from arterial pulse wave foot point.

## Several other authors investigated heart rate variability (HRV) parameters for AF detection  (Baalman et al., 2020). The study conducted by Bus et al. (Buś et al., 2022) employed the minimum redundancy maximum relevance (MRMR) algorithm to select pertinent features related to heart rate variability (HRV) from an extensive range of parameters derived from ECG RR intervals. Various machine learning classifiers were then trained on subsets consisting of the highest-ranked HRV features. Lown et al. (Lown et al., 2020) and Duan et al. (Duan et al., 2022) also extracted HRV features from RR intervals,

## used style transfer to synthesize realistic ECGs, increasing the training data five-fold. Chen et al. (B. Chen et al., 2023) developed a clustering algorithm based on self-supervised contrastive learning to analyze ECG data. Asadi et al. (Asadi et al., 2023) proposed a novel approach for the accurate detection of paroxysmal AF using selecting parameters with MRMR and evaluating classifiers trained on feature sets. Luongo et al. (Luongo et al., 2022) implemented a ML approach to discriminate between patients with AF-induced heart failure (AF-HF) and controls using features extracted from single-lead ECG recordings. The system extracted 14 features from ECG RR intervals and employed a greedy forward selection process to determine the most predictive features. These features were then utilized to train a decision tree classifier. Other authors developed ML classifiers for AF detection using features extracted from PPG signals. Eerikäinen et al. (Eerikainen et al., 2020) applied a random forest classifier to features extracted from PPG waveforms and accelerometer data to classify AF. Liao et al. (Liao et al., 2022) tested a SVM and a random forest classifier to detect AF from a wrist PPG.

## Saarinen et al. (Saarinen et al., 2023) validated a wrist-worn device for AF detection using PPG and intermittent ECG compared to Holter ECG. Lahdenoja et al. (Lahdenoja et al., 2018) and Navoret et al. (Navoret et al., 2013) both applied signal processing and ML techniques to accelerometer and gyroscope signals recorded from smartphones to extract features related to heartbeat timing, entropy measures, and signal complexity, to train classifiers like SVM to detect AF. Piekarski et al. (Piekarski et al., 2016) extracted motion features cine cardiovascular magnetic resonance images and employed a knowledge-based learning approach to discriminate AF accurately from sinus rhythm and premature ventricular contractions. Mehrang et al. (Mehrang et al., 2019) reported that both physician- and self-applied mechanocardiography, which measures acceleration and angular velocity signals with inertia sensors on smartphones, were able to feasibly detect AF with accuracies comparable to ECG labels, demonstrating the potential of the technique for AF screening and self-monitoring.

3.1.2 Atrial fibrillation detection with deep learning

## The majority of AF detection models are based on DL and ECG data (Figure 2).  Convolutional neural networks (CNNs) are commonly employed to extract features as well as perform classification from original ECG signal data (Biton et al., 2023; Christopoulos et al., 2022; Fernández-Ruiz, 2019; Lai et al., 2020; Ma & Xia, 2023; Mittal et al., 2021; Mousavi et al., 2021; Orchard et al., 2016; Rahul & Sharma, 2022; Seo et al., 2021; M. U. Yang et al., 2022). In their model for detecting paroxysmal AF, Pourbabaee et al. (Pourbabaee et al., 2018) applied deep CNNs on raw ECG time-series signals to learn representative features in the time-domain using only one fully connected layer. Wu et al. (H. Wu et al., 2022) proposed a fully automated DL-based paper ECG digitization algorithm that segmented the ECG image into leads to extract the signal of interest. The tool can facilitate the digitization of ECG repositories for DL projects. For detecting AF from ECGs of variable signal lengths, Zhang et al. (X. Zhang et al., 2023) developed a multi-path neural network called MP-DLNet that extracted temporal and detailed features from variable-duration ECGs. Techniques such as feature fusion and data balancing were incorporated to enhance the model's performance. Radhakrishnan et al. (Radhakrishnan et al., 2021) as well as Prabhakararao and Dandapat (Prabhakararao & Dandapat, 2022) created multi-task deep CNNs capable of classifying AF episodes using ECG signals as input. Gahungu et al. (Gahungu et al., 2021) proposed a system for automatically screening patients being evaluated for suspected obstructive sleep apnea, a condition linked to increased AF risk, to detect potentially underlying AF. Chen et al. (X. Chen et al., 2021) proposed a CNN with augmented stroke attention to detect AF from ECG data.  Kumar et al. (Kumar et al., 2023) investigated the relationship between false positives detected by a DL model and ambulatory contexts using an ECG dataset. The authors found that activities like changes in body position and movement accelerations were associated with many of the false positives detected by the DL model when applied to ECG data collected in free-living conditions. Laghari et al. (Laghari et al., 2023) proposed DL dense network combined with bidirectional recurrent neural network for automated AF detection from ECG data. An attention mechanism was used to extract important features. Zhang et al. (P. Zhang et al., 2023) developed a DL model to automatically screen patients for AF from 24-hour Holter monitoring data. The model extracted RR interval data and classified samples as AF or non-AF to detect AF episodes.

## Some studies detect AF from a single-lead ECG (M. Jiang et al., 2021; Z. Li et al., 2019; Yu et al., 2022; O. Zhang et al., 2021). Fang et al. (Fang et al., 2023) developed a dual-channel neural network for AF detection. It utilized time-frequency spectra and Poincare plots as inputs to extract features and classify cardiac rhythms. Ukil et al. (Ukil et al., 2022) developed AFSense-ECG, an intelligent single-lead ECG sensor capable of accurately detecting AF. Kumar et al. (Kumar et al., 2022) proposed a DL model comprising convolutional and recurrent neural networks that analyzed temporal and morphological features from the ECG data to classify AF versus normal sinus rhythm. Faust et al. (Faust et al., 2018) applied a long short-term memory network with RR interval signals for automated detection of AF. Kong et al. (Kong et al., 2019) constructed an AF classification method based on deep CNNs using a waveform dataset and assessed its efficiency and generalizability on different devices and data sources. Mannhart et al. (Mannhart et al., 2023) compared the performance of manufacturers' algorithms and a DL-based algorithm for AF detection on single-lead ECG from 5 smartwatches. The DL algorithm significantly reduced the number of inconclusive results while maintaining high diagnostic accuracy for AF detection.

## Other researchers have developed systems that read 12-lead ECG data to detect AF episodes (Baek et al., 2021; Cai et al., 2020). Cao et al. (Cao et al., 2019) proposed a novel deep densely connected neural network that accurately detected AF from 12-lead ECGs without the need for expert feature engineering or extraction. Ribeiro et al. (Ribeiro et al., 2020) developed an AI approach that analyzed standard 12-lead ECGs using a pretrained CNN, which attained expert-level accuracy in diagnosing AF and other ECG abnormalities. Hennings et al. (Hennings et al., 2023) developed a DL method for AF detection from Holter ECG recordings that showed high correlation and agreement with the assessment performed by physicians. Petroni et al. (Petroni et al., 2023) presented MUSE, a novel technique for AF detection relying on principal component analysis of sub-beat ECG signals from one or more leads, classified using deep learning. Testing on public datasets demonstrated its high reliability in detecting AF. Holter data were also used by various researchers (P. Zhang et al., 2022; X. Zhang et al., 2023). Fiorina et al. (Fiorina et al., 2022) evaluated the performance of an AI-based Holter analysis platform using DL compared to a conventional platform in a clinical setting. The AI platform was found to be non-inferior in accuracy for arrhythmia detection but faster compared with the latter. Ríos-Muñoz et al. (Ríos-Muñoz et al., 2022) used a CNN-based approach to detect AF starting from endocardial electrograms (EGMs).

## Several researchers have explored various learning strategies within DL frameworks, such as transfer learning, contrastive learning, or adversarial learning (Diamant et al., 2022). A system for detecting AF was developed by Shi et al. (Shi et al., 2020) that integrated transfer learning and active learning in an incremental learning approach. Their innovative framework combined AF diagnosis, label querying, and model fine-tuning using a pretrained convolutional neural network (CNN) along with a unique active learning strategy. Weimann et al. (Weimann & Conrad, 2021) evaluated utilizing transfer learning to enhance CNN classification of heart rhythms from limited ECG data. CNNs were pre-trained on a sizable ECG database and then fine-tuned on a smaller set for AF classification. Xiong et al. (Xiong et al., 2022) certified generative adversarial network and neural architecture search, which showed promising results.

## Recently, researchers have started to adopt explainable AI and uncertainty quantification (UQ) into their DL models (Jo et al., 2021). Using UQ, models can indicate how confident they are in their predictions for individual cases, revealing when a prediction may be unreliable. Mousavi et al. (Mousavi et al., 2020) proposed a hierarchical attention network model for interpretable AF detection using ECG signals. In experiments on two databases, the model attained comparable performance with respect to existing methods. Of note, visualization of the attention layers indicated that the model was able to learn clinically meaningful patterns for detection. Salinas-Martínez et al. (Salinas-Martínez et al., 2021) used a CNN to detect brief AF episodes on the electrocardiomatrix, a method that depicts the temporal information of 2-dimensional ECG for comprehensive beat-to-beat analysis. The CNN decisions were explained using layer-wise relevance propagation, which highlighted the reliance on rhythm and waves. Chen et al. (B. Chen et al., 2022) focused on quantifying the uncertainty of deep neural networks in detecting AF with limited labeled data. Ivaturi et al. (Ivaturi et al., 2021) proposed a model-agnostic framework that applied global and local explanation methods to DL models for explaining the time series classification of AF using ECG signals. Parmar et al. (Parmar et al., 2023) proposed an end-to-end very large-scale integration architecture for AF classification for wearable applications that combined CNNs, integer wavelet transform, and an approximate multiplier to lower the power requirement. To identify target regions of the atria for pulmonary vein isolation during AF ablation, Cámara-Vázquez et al. (Cámara-Vázquez et al., 2021) posed the localization of the position of AF drivers using body surface potentials (without the need for invasive intracardiac ECG) as a supervised classification challenge.

## Some authors have focused on AF detection using PPG signals. Liu et al. (S. Liu et al., 2022) developed a CNN model to classify cardiac rhythms using PPG signals. Their model was able to classify supraventricular tachycardia, ventricular tachycardia, premature atrial contraction, and premature ventricular contraction. The model attained an overall accuracy of 85.0%. Aldughayfiq et al.(Aldughayfiq et al., 2023) proposes a DL model combining 1D CNN and BiLSTM for atrial fibrillation classification using ECG and PPG time series data. Bedi et al. (Bedi et al., 2023)presented a case where a smartwatch notified a young patient of an irregular heartbeat which was later diagnosed as atrial fibrillation. The authors employed a DL algorithm that analyzed ECG and PPG data to detect AF. Kwon et al. (Kwon et al., 2020) and Kudo et al. (Kudo et al., 2023) proposed training pipelines for PPG-based arrhythmia classification by comparing different DL models, including 1D CNNs and recurrent neural networks, to determine the best combination for performance and generalizability. Kwon et al. (Kwon et al., 2020) developed a CNN model that classified AF from normal sinus rhythm using PPG features extracted from smartwatch data. Ding et al. (Ding et al., 2023) proposed a GAN for PPG signal augmentation to improve training of AF detection models. It introduces spectral information into GAN's loss function and shows LSM-GAN improves AF detection performance compared to other augmentation methods. Cheng et al. (Cheng et al., 2020) proposed a methodology combining time-frequency analysis and deep learning to detect AF episodes from PPG signals. Zhang et al. (O. Zhang et al., 2021) employed a deep neural network to process PPG data for AF detection. They also proposed explainability metrics to facilitate the assessment of PPG signals. Wasserlauf et al. (Wasserlauf et al., 2019) developed an AF-sensing Apple Watch equipped with a PPG sensor, which used a CNN trained on heart rate, activity, and ECG data to classify heart rhythms. Liu et al. (Z. Liu et al., 2022) proposed a multiscale grouped convolutional neural network that detected AF automatically based on PPG-based RR interval sequences as inputs. The model used grouped convolutions, self-attention, and de-noising coding to enhance efficiency and noise robustness.

## Several studies have employed DL techniques on data types other than ECG and PPG. Denas et al. (Denas et al., 2021) implemented a program that allowed general practitioners to opportunistically screen for AF using an automated blood pressure device with arrhythmia detection capabilities. Akerman et al. (Akerman et al., 2023) presented a DL model using a 3D CNN to detect heart failure with preserved ejection fraction using only apical 4-chamber echocardiogram video clips.  Other authors reported on the remote extraction of PPG-like systolic peak signals from videos of faces. Liu et al. (X. Liu et al., 2022) introduced VidAF, a motion-robust model for AF screening, which comprised a CNN for detecting pulse signals from facial videos combined with phase-driven attention mechanism and denoise coding strategy to reduce motion disturbances. A similar approach was employed by Yan et al. (Yan et al., 2020).

3.1.3 Atrial fibrillation detection with hybrid methods

## In this section, we discuss studies that employ a combination of ML and DL techniques, which we refer to as "hybrid models". Hybrid models aim to leverage the complementary strengths of different AI approaches. For instance, integrating explainable machine learning methods with the feature learning power of deep learning. Noseworthy et al. (Noseworthy et al., 2022) and Golovchiner et al. (Golovchiner et al., 2022) combined ML and DL in their models, which detected AF using vocal features analysis, and attained high accuracy and reliability in identifying AF episodes. Bachi et al. (Bachi et al., 2023) developed an ECG simulator with time-varying signal characteristics for modeling of arrhythmias, noise, and other factors relevant to AF analysis. The study demonstrated the usefulness of the simulator in data augmentation for AI models, as well as in evaluating AF detection performance. Gündüz et al. (Fatih Gündüz & Fatih Talu, 2023)    investigated different combination between ML and DL models for AF detection from ECG data. Spectral features, P waves and RR interval differences were used as input to a BiLSTM network, achieving the best performance among compared methods. Hurnanen et al. (Hurnanen et al., 2017) also developed a hybrid model to detect AF using time-frequency analysis of seismocardiograms, which are vibrations generated by the heart recorded using body surface accelerometers. Lai et al. (X. Li et al., 2021) proposed a CNN-SVM model the predicted for AF recurrence based on preoperative AF signals, improving on the performance for differentiating linear versus nonlinear data compared with multilevel perception-based.

3.1.4 Most influential studies for AF detection

## The most influential recent studies for AF detection, particularly in terms of novelty, are summarized in Table 1. Using a DL approach, the authors (Asadi et al., 2023) achieved an accuracy of over 99% when using ECG signals. In a promising study, Parmar et al. (Parmar et al., 2023) integrated the ECG signal with the PPG signal, demonstrating higher performance compared to using the ECG alone.  Some authors employed DL models to perform AF detection using only PPG signals (Cheng et al., 2020; O. Zhang et al., 2021). Cheng et al. (Cheng et al., 2020) introduced a novel time-frequency analysis methodology combined with DL for AF detection from PPG signals, reaching a sensitivity of 98.2%. Zhang et al. (O. Zhang et al., 2021) proposed novel explainability metrics leveraging domain expertise to validate a DL model for PPG-based AF detection. Furthermore, some authors extracted additional features from the ECG signal, such as HRV and RR intervals, to provide more comprehensive input for AI models used to detect AF (Buś et al., 2022; Lown et al., 2020). Lown et al. (Lown et al., 2020) developed an inexpensive wearable heart rate monitoring approach using ML for real-world AF screening while Bus et al. (Buś et al., 2022)employed a novel algorithm for optimal heart rate variability feature selection for AF detection. Notably, most of these studies aid in developing lighter-weight models that are well-suited for continuous monitoring applications in real-world settings.

Table 1. Summary of most influential studies on AI methods for AF detection

| Author, year | Data type | Novelty | Results |
| --- | --- | --- | --- |
| (Cheng et al., 2020) | PPG | A time-frequency analysis with DL model for the AF detection based on PPG | Sensitivity: 98.2%; Specificity: 98%; Accuracy: 98.1% |
| (Lown et al., 2020) | RR intervals from ECG | An inexpensive wearable heart rate monitor, coupled with a ML algorithm, was created for AF detection. | Sensitivity: 99.2%; Specificity: 99.5% |
| (O. Zhang et al., 2021) | PPG | A novel explanatory metrics leveraging domain expertise to validate a DL model. | Sensitivity: 99.4%; Specificity: 97.9%; Accuracy: 98.9% |
| (Buś et al., 2022) | ECG and HRV | The minimum redundancy maximum relevance (MRMR) algorithm was employed to select a minimal set of heart variability parameters for AF detection. | Accuracy: 97.2% |
| (Asadi et al., 2023) | ECG | A certified generative adversarial network and neural architecture search for accurate paroxysmal AF detection. | Accuracy: 99% |
| (Parmar et al., 2023) | ECG and PPG | An end-to-end edge-enabled machine learning-based VLSI (Very Large Scale Integration) architecture was proposed for classifying ECG excerpts as either with or without AF. | Accuracy: 92.3% |

3.2 Related works for treatment selection and risk stratification

## This section explores the use of AI in treatment decision-making and risk assessment. AI models can be used to aid the selection of appropriate treatment strategies for patients with AF, e.g., from analysis of patient history, imaging results, and diagnostic tests. Additionally, AI can contribute to risk stratification by predicting the likelihood of adverse outcomes and complications associated with AF. In contrast to AF detection, most of the models involved ML and used more diverse data sources (Figure 3, complete list in Appendix Table A2).

Figure 3. Distribution of the papers based on the macro-technique employed for treatment selection and risk stratification (a); and based on the data used (b). ECG is the most common data source for AF risk stratification.

3.2.1 Atrial fibrillation risk stratification with machine learning

## Pereira et al. (Pereira et al., 2020), Ahmad et al. (Ahmad et al., 2021), and Hill et al. (Hill et al., 2020) developed AI-assisted systems for the analysis of AF. The approach involved the use of ML algorithms to process ECG data and identify patterns indicative of AF or assess the risk of AF. Moss et al. (Moss et al., 2017) introduced an AI model that aimed to analyze and identify clinical data and patient characteristics to predict AF episodes in critically ill patients. Yang et al. (M. Yang et al., 2020) used AI-assisted analysis to examine the relationship between fine particulate matter exposure and incident cardiac arrhythmia, including AF, among outpatients attending Shanghai community hospitals. He et al. (J. He et al., 2023) incorporated baseline risk predictors like age, presence of atrial premature beats, atrial flutter, left ventricular hypertrophy, hypertension, and heart disease into their ML model to predict AF risk. Insights gained assisted personalized AF risk assessment and management. Ngufor et al. (Ngufor et al., 2023) used ML methods to analyze clinical data to study the treatment effects of oral anticoagulants among patients with AF. They applied a causal tree algorithm and targeted maximum likelihood estimation to identify subgroups of patients who responded differently to the treatment. Jiang et al. (J. Jiang et al., 2023) developed ten ML models to evaluate risk factors for AF recurrence after Cox-Maze IV surgery. Feature importance and SHapley Additive exPlanations analysis identified potential predictors like AF duration and preoperative left ventricular function. Pieszko et al. (Pieszko et al., 2023) developed an ML model to predict left atrial appendage thrombus based on clinical features. Model threshold could avoid 40% of routine transesophageal echocardiography studies while maintaining high sensitivity for thrombus detection. Yue et al. (Yue et al., 2019) and Wu et al. (Z. Wu et al., 2021) both utilized ML methods to analyze large datasets and identify predictors of outcomes related to AF. Specifically, their approaches focused on risk stratification and conditional inference for survival analysis. By stratifying patients according to their predicted risk levels, their method assisted clinicians in decision-making regarding appropriate treatment pathways.

3.2.2 Atrial fibrillation risk stratification with deep learning

## Among DL methods, CNNs were the most commonly used. Tran et al. (Tran et al., 2023)  developed a CNN to analyze ECG data, exploring the impact of false ECG alerts on patient-reported health outcomes. Giskes et al. (Giskes et al., 2023) deployed AF self-screening stations in clinical waiting areas incorporating software to screen patient records and ECGs, identifying those potentially benefiting from treatment. The program addressed the time barriers for clinician-based screening and yielded a successful screening rate that was almost four times higher than standard practice.

## In one work, authors simultaneously preform AF detection and risk stratification. Desteghe et al. (Desteghe et al., 2017) studied the feasibility, accuracy, and const-effectiveness of MyDiagnostick and AliveCor devices in AF screening and risk stratification among patients in cardiology and geriatric wards.

3.2.3 Atrial fibrillation risk stratification with hybrid methods

## Tse et al. (Tse, Zhou, et al., 2020) developed a novel hybrid AI algorithm for risk stratification in heart failure that involved analyzing specific features and patterns on ECG signals. Weil et al. (Weil et al., 2022) employed a hybrid AI approach to calculate an AF risk score based on ECG data. Using this method, the authors achieved an overall accuracy of 83% for risk stratification when evaluating ECGs acquired during each patient's first month of monitoring. Barrett et al. (Barrett et al., 2023; Saglietto et al., 2023) developed an AI framework using clustering, reinforcement learning and variation autoencoders to guide rhythm management treatment selection in atrial fibrillation using EHR data. The method aimed to identify clinically meaningful patient subgroups and determine optimal treatment strategies, showing association with improved outcomes when treatment agreed with the model. Han et al. (C. Han et al., 2022) focused on the application of AI for risk prediction in AF patients. They utilized diverse clinical and demographic data in their study to predict adverse outcomes in AF patients. Insights highlighted AI-based risk prediction's potential to enhance patient management and personalized care strategies.

3.2.4 Most influential studies for AF risk stratification

## The most influential recent studies for AF risk stratification and treatment selection are summarized in Table 2. Compared to methods designed solely for AF detection, models employed for therapy selection or risk stratification have demonstrated slightly lower overall performance on average. This decrease in accuracy is likely due to the increased challenge of these multi-factorial tasks. While ECG signals remain extensively studied due to their diagnostic richness (D. Han et al., 2022; Tran et al., 2023), promising works have also leveraged diverse, complementary data sources. Han et al. (D. Han et al., 2022)  employed a hybrid ML learning approach for assessing AF risk in ischemic stroke patients while Tran et al. (Tran et al., 2023) developed an innovative DL method for detecting false AF alerts. Some studies have achieved good performance utilizing non-ECG sources such as PPG signals (Pereira et al., 2020) or integrating clinical variables from electronic health records (Giskes et al., 2023; Yue et al., 2019). Pereira et al. (Pereira et al., 2020) study introduced novel explainability metrics to validate PPG for AF analysis using DL. Yue et al. (Yue et al., 2019) conducted a novel comparative transcriptome analysis to identify genes associated with AF treatment response, reaching an overall accuracy of 98.7%. Finally, Giskes et al. (Giskes et al., 2023) evaluated an innovative AF self-screening clinic model to improve screening rates.

Table 2. Summary of most influential studies on AI methods for AF risk stratification.

| Author, year | Data type | Novelty | Results |
| --- | --- | --- | --- |
| (Yue et al., 2019) | Clinical data | Comparative transcriptome analysis was conducted to identify genes that exhibit differential expression in AF patients treated with colchicine compared to those not treated with colchicine. | Accuracy: 98.7% |
| (Pereira et al., 2020) | PPG, ECG | Explainability metrics were employed to assess the quality of photoplethysmography using DL networks. | Accuracy: 95% |
| (C. Han et al., 2022) | ECG | Hybrid model was employed to evaluate the risk of paroxysmal AF in noncardioembolic ischemic stroke. | Accuracy: 99% |
| (Giskes et al., 2023) | Clinical data | A DL model to assess whether AF self-screening stations improve AF screening, diagnosis, and stroke risk management. | AF self-screening stations improved AF screening |
| (Tran et al., 2023) | ECG | An innovative DL method was developed to detect false AF alerts from smartwatches, which can be linked to reduced perceived physical well-being and confidence in managing chronic symptoms. | DL approach reduced the number of false positive alerts by 83% |

3.3 Related works for atrial fibrillation prediction

## By leveraging ML and DL algorithms, predictive models can be developed to identify individuals at high risk of developing AF. The models utilize a wide range of data sources, including demographic information, medical history, genetic factors, and physiological signals (Figure 4, detailed list in Appendix Table).

Figure 4. Distribution of the papers based on the macro-technique employed for AF prediction (a); and based on the data used (b). ECG is the most common data source for AF prediction.

3.3.1 Atrial fibrillation prediction with machine learning

## Castro et al. (Castro et al., 2021) and Boon et al. (Boon et al., 2018) used feature engineering approaches in their models to predict the occurrence of paroxysmal AF. They extracted features like HRV metrics in the time and frequency domains and used models like random forest, SVM, and k-nearest neighbors to train the selected features for the classification. Similarly, Parsi et al. (Parsi et al., 2021) extracted novel HRV features based on Poincaré plot representations, and employed classifiers like SVM, k-nearest neighbors, random forest, and multilevel perceptron. Ebrahimzadeh et al. (Ebrahimzadeh et al., 2018), Boon et al. (Boon et al., 2016), and Bashar et al. (Bashar et al., 2019) extracted combinations of linear, time-frequency, and nonlinear features from ECG signals, and a mixture of expert models (Ebrahimzadeh et al., 2018) or genetic algorithm (Boon et al., 2016) or SVM and RF (Bashar, Ding, et al., 2021) were then trained on the features to predict AF onset. Tse et al. (Tse, Lakhani, et al., 2020) employed univariate and multivariable logistic regression to evaluate characteristics like age, systolic blood pressure, and P-wave area in predicting new-onset AF in mitral stenosis patients. Saiz-Vivo et al. (Saiz-Vivo et al., 2021) and Roney et al. (Roney et al., 2022) both used patient-specific models constructed from cardiac magnetic resonance imaging to perform biophysical simulations of AF. Simulation metrics along with clinical data were then used to train classifiers to predict AF recurrence after ablation. Guo et al. (Guo et al., 2021) introduced a ML-based approach using PPG for real-time prediction of AF onset. Kao et al. (Kao et al., 2023) employed a ML-based approach to predict AF among older patients using electronic medical records. Different classifiers, such as SVM, random forest, and logistic regression, were used to predict AF. Oto et al. (Oto et al., 2017) used ML to predict the recovery of sinus rhythm after cardioversion of AF. Kamel et al. used ML to analyze clinical and population data to identify features and patterns that could help determine the underlying mechanism of embolic strokes of undetermined sources. Zelnick et al. (Zelnick et al., 2021) applied ML algorithms to clinical data and biomarkers to predict AF. Saglietto et al.  derived an ML prediction model using clinical variables to predict 1-year recurrence of AF after ablation. Random forest was the best performing algorithm with AUC of 0.721. Szymanski et al. (Szymanski et al., 2022) implemented different methods such as neural networks, SVM, and random forests to predict AF using demographic and clinical data from a cohort of over 3 million individuals. Neural networks provided the best performance, achieving a sensitivity of over 75% in predicting AF status. Bifulco et al. (Bifulco et al., 2023) adopted an imaging approach, using patient-specific models reconstructed from cardiac MRI to study how AF alters the substrate properties with respect to functional or anchored reentry. Computational simulations combined with explainable ML identify spatial patterns of post-ablation nonconductive tissue associated with recurrent arrhythmias.

3.3.2 Atrial fibrillation prediction with deep learning

## In all the studies that employed DL, ECG data were used to predict AF. Bajn et al. (Baj et al., 2023) developed an AI-enabled ECG algorithm for predicting incident AF. Attia et al. (Attia et al., 2019) conducted a retrospective analysis developing an AI-enabled ECG algorithm capable of predicting AF during sinus rhythm. Hygrell et al. (Hygrell et al., 2023) conducted a population-based study to predict incident AF using single-lead ECG. Similar approaches were employed by Tohyama et al. (Tohyama et al., 2023) and Tzou et al. (Tzou et al., 2021), who proposed CNNs to predict postoperative AF. Singh et al. (Singh et al., 2022) proposed a framework called CardioNet that analyzed cardiac abnormalities by directly modeling physiological relationships from unstructured ECG reports using natural language processing. Khurshid et al. (Khurshid et al., 2022) developed a CNN model to predict long-term AF risk using 12-lead ECG data from multiple datasets. Hughes et al. (Hughes et al., 2023) presented a CNN-based model to predict long-term cardiovascular risk from 12-lead ECGs. Their model was able to stratified risk of cardiovascular mortality, and AF when used individually or combined with traditional risk scores. Jeon et al. (Jeon et al., 2023) developed a DL algorithm to predict AF using ECG data. The algorithm was validated in patients with cryptogenic stroke using insertable cardiac monitors. Combining the algorithm with clinical risk factors improved prediction performance. Raghunath et al. (A. Raghunath et al., 2023) proposed a CNN model to predict AF events using over 260,000 mobile ECGs from 73,861 users. The model showed good performance in predicting AF events both before and after they occurred; prediction was most accurate when ECGs were closer to the AF event. Pipillas et al. (Pipilas et al., 2023)  compared different DL-based techniques for AF screening. They found that integrating clinical risk factors into the model improved its performance compared to using the deep learning model alone. Jalali et al. (Jalali & Lee, 2020) incorporated regularization terms into ResNet to predict AF occurrence from premature atrial complexes detected in ECG signals. Chang et al. (Chang et al., 2022) proposed the use of a DL model to estimate heart age (as distinct from chronological age) based on ECG data, and its impact on cardiovascular disorders, including AF. Other researchers focused on multimodal inputs to ML models. Schnabel et al. (Schnabel et al., 2023) employed a DL convolutional network to predict impeding AF within the next 31 days based on a single standard 12-channel ECG in sinus rhythm. In their CNN model, Tang et al. (Tang et al., 2022) used intracardiac electrograms and 12-lead ECGs, as well as a multimodal fusion model incorporating electrogram, ECG, and clinical data to predict AF recurrence after ablation. Wang et al. (X. Wang et al., 2023) analyzed the genetic basis of their ECG-AI model predictions by performing genome-wide association studies and correlating the outcomes with the model outputs.

## Other researchers combined the tasks of AF prediction with AF detection or risk stratification. Biton et al. (Biton et al., 2021) used deep representation for AF risk prediction using 12-lead ECG while Fan et al. (Fan et al., 2018) developed a multi-scaled CNN to capture features at different scales from input ECGs. Bundy et al. (Bundy et al., 2020) developed different AF risk prediction models using data from the Multi-Ethnic Study of Atherosclerosis cohort. They compared the performance of models incorporating established clinical risk factors versus candidate variables identified through ML approaches. Through this analysis, they found that simpler models relying on established risk factors remained the gold standard for AF risk prediction, although ML showed promise in identifying new potential predictors. Their analysis highlighted that the simple model remained the gold standard for risk prediction of AF. Jiang et al. (M. Jiang et al., 2021) created a convolutional neural network predicting AF recurrence risk post-catheter ablation using 12-lead ECG data. Using a multi-modal ML approach incorporating ECG and cardiac imaging data (radiomics), Pujadas et al. (Pujadas et al., 2022) reported better AF prediction than models using ECG features alone. Both Raghunath et al. (S. Raghunath et al., 2021) and Zvuloni et al. (Zvuloni et al., 2023)  developed deep neural network models to predict new-onset AF using 12-lead ECG data. Through deep learning analysis of ECGs, the authors demonstrated models could successfully identify those at high future risk of AF-related stroke.

3.3.3 Atrial fibrillation prediction with hybrid methods

## Melzi et al. (Melzi et al., 2021) conducted analyses of AI systems for the prediction of AF from sinus-rhythm ECGs, including demographic data.  They analyzed how the performance of AI models varies in different subgroups and identified key regions in ECG that help predict AF. Aquino et al. (Aquino et al., 2022) developed a deep learning model that quantifies the volume of the left atrium using routine non-contrast chest CT scans. The measured volumes demonstrated a significant correlation with the occurrence of new-onset AF, hospitalization due to heart failure, and adverse cardiac events.

3.3.4 Most influential studies for AF prediction

## The most impactful recent studies on AF prediction are outlined in Table 3. There is noticeable diversity in the approaches adopted by authors for the prediction task. Castro et al. (Castro et al., 2021) introduced a novel ML classifier to predict new-onset AF in patients with mitral stenosis, achieving a precision of 93.2%. Parsi et al. (Parsi et al., 2021) developed a predictive framework for paroxysmal AF based on novel heart rate variability analysis methods, obtaining a sensitivity of 97.8% and specificity of 91.1%. Guo et al. (Guo et al., 2021) utilized ML algorithms to predict AF recurrence after catheter ablation with an AUC of 0.94. While ECG analysis is predominant, some studies have explored alternative modalities such as clinical imaging. Roney et al. (Roney et al., 2022) aimed to predict long-term AF recurrence after ablation in large cohorts. They presented novel AI methods to complement biophysical simulations obtained from cardiac MRI models, achieving an AUC of 0.85. In the context of AF prediction, this highlights the potential of alternative data sources like medical imaging.

Table 3. Summary of most influential studies on AI methods for AF prediction.

| Author, year | Data type | Novelty | Results |
| --- | --- | --- | --- |
| (Castro et al., 2021) | ECG | The study aims to develop a ML classifier to predict new-onset AF in patients with mitral stenosis. | Precision: 93.2% |
| (Parsi et al., 2021) | ECG | A ML framework for paroxysmal AF prediction based on heart rate variability feature analysis. | Sensitivity: 97.8%; Specificity: 91.1%; Accuracy: 95% |
| (Guo et al., 2021) | Heart rate | ML algorithms were utilized to predict AF recurrence after catheter ablation. | AUC: 0.94 |
| (Roney et al., 2022) | MRI | ML methods were employed to complement biophysical simulations and encode greater interindividual variability, enabling the prediction of long-term AF recurrence after ablation in large cohorts. | AUC: 0.85 |

# 4. DISCUSSION

## This review provides a broad perspective on the current landscape of AI research in multiple aspects of AF diagnosis and management. Several other reviews have also been in this area but are comparatively limited in their scope and focus. Matias et al. (Matias et al., 2021) reviewed 12 ECG-based AF predictive models. Olier et al. (Olier et al., 2021) focused on ML-based techniques but not recent advances in DL. In contrast, Sehrawat et al. (Sehrawat et al., 2022) addressed DL methods exclusively. Murat et al. (Murat et al., 2021) reviewed 16 published studies of ECG-based DL models for AF detection. Wang et al. (Y. C. Wang et al., 2022) focused only on diagnostic methods applied to wearable sensors. Our approach was to systematically synthesize all recent AF research on ML and DL methods applied to diverse data sources (ECG, PPG, wearable sensors, other signals, etc.). In so doing, we have comprehensively reviewed a total of 171 studies, which offer both researchers and clinicians a valuable source of reference and unique insights into the breadth and depth, as well as the relative merits and limitations, of contemporary AI techniques AF detection, risk stratification, and prediction.

4.1 Research focus by publication year

## While most research has focused on AF detection, research in AF risk stratification and prediction has seen steady growth in recent years (Figure 5). The application of AI to determine optimal treatment plans and predict complication risks potentially allows for precision medicine and improved patient outcomes.

Figure 5. Distribution of papers on AF detection, prediction, and AF for therapy selection and risk stratification published between 2013 and 2023.

4.2 Artificial intelligence models by publication year

ML methods predominated during the earlier years covered by this review but were superseded in recent years by DL models (Figure 6). Overall, DL, ML and hybrid models comprised 51%, 43%, and 6% of total studies, respectively.

Figure 6. Distribution of papers categorized by model approaches published between 2013 and 2023.

Table 4 summarizes the reviewed papers stratified by task and technique (ML, DL, ML&DL). For AF detection and prediction tasks, DL methods predominated. Indeed, DL offers greater versatility for automatic feature extraction from raw data belonging to diverse sources, which may explain this predilection. Interestingly for risk stratification, ML techniques were slightly more common.

Table 4. Reviewed papers stratified by AF-related tasks and AI models.

| Task | Method | N | Relative proportion of articles | Reference(s) |
| --- | --- | --- | --- | --- |
| AF detection | ML | 44 | 29% | Agliari et al., 2020; Alhusseini et al., 2020; Buscema et al., 2020; Domazetoski et al., 2022; K. He et al., 2022; Huang et al., 2021; Nickelsen et al., 2017; Pérez-Valero et al., 2019; Rad et al., 2021; Rouhi et al., 2021; Schaefer et al., 2014; Wesselius et al., 2022; Yao et al., 2021, Abdul-Kadir et al., 2016, Asgari et al., 2015), Daqrouq et al., 2014, Fuadah & Lim, 2022, Bashar et al., 2020, 2021, García-Isla et al., 2021, Gupta et al., 2023, Stergiou et al., 2018, H. T. Li et al., 2019, Kalidas & Tamil, 2019, Keidar et al., 2021, Lee et al., 2013, X. Li et al., 2021, Mateo & Joaquín Rieta, 2013, Dörr et al., 2019, Brüser et al., 2013, Zalabarria et al., 2020, Baalman et al., 2020, Buś et al., 2022, Lown et al., 2020, Duan et al., 2022, Luongo et al., 2022, Eerikainen et al., 2020, Liao et al., 2022, Lahdenoja et al., 2018, Navoret et al., 2013, Piekarski et al., 2016, Mehrang et al., 2019 |
|  | DL | 56 | 37% | Biton et al., 2023; Christopoulos et al., 2022; Fernández-Ruiz, 2019; Lai et al., 2020; Ma & Xia, 2023; Mittal et al., 2021; Mousavi et al., 2021; Orchard et al., 2016; Rahul & Sharma, 2022; Seo et al., 2021; M. U. Yang et al., 2022, Pourbabaee et al., 2018. H. Wu et al., 2022, X. Zhang et al., 2023, Prabhakararao & Dandapat, 2022, Gahungu et al., 2021, X. Chen et al., 2021, M. Jiang et al., 2021; Z. Li et al., 2019; Yu et al., 2022; O. Zhang et al., 2021, Fang et al., 2023, Ukil et al., 2022, Kumar et al., 2022, Kong et al., 2019, Baek et al., 2021; Cai et al., 2020, Cao et al., 2019, Ribeiro et al., 2020, Petroni et al., 2023, P. Zhang et al., 2022; X. Zhang et al., 2023, Fiorina et al., 2022, Ríos-Muñoz et al., 2022, Diamant et al., 2022, Shi et al., 2020, Weimann & Conrad, 2021, Xiong et al., 2022, B. Chen et al., 2023, Asadi et al., 2023, Jo et al., 2021, Mousavi et al., 2020, Salinas-Martínez et al., 2021, B. Chen et al., 2022, Ivaturi et al., 2021, Parmar et al., 2023, Cámara-Vázquez et al., 2021, S. Liu et al., 2022, Kwon et al., 2020, Kudo et al., 2023, Kwon et al., 2020, Cheng et al., 2020, O. Zhang et al., 2021, Wasserlauf et al., 2019, Z. Liu et al., 2022, Denas et al., 2021, X. Liu et al., 2022, Yan et al., 2020, Faust et al., 2018 |
|  | ML&DL | 5 | 3% | Noseworthy et al., 2022, Golovchiner et al., 2022, Bachi et al., 2023, Hurnanen et al., 2017, X. Li et al., 2021 |
| AF treatment selection and risk stratification | ML | 10 | 7% | Pereira et al., 2020, Ahmad et al., 2021), Hill et al., 2020, Moss et al., 2017, M. Yang et al., 2020, J. He et al., 2023, Ngufor et al., 2023, J. Jiang et al., 2023, Yue et al., 2019, Z. Wu et al., 2021 |
|  | DL | 3 | 2% | Tran et al., 2023, Giskes et al., 2023, Desteghe et al., 2017 |
|  | ML&DL | 3 | 2% | Tse, Zhou, et al., 2020, Weil et al., 2022, Han et al., 2022 |
| AF prediction | ML | 13 | 8% | Castro et al., 2021, Boon et al., 2018, Parsi et al., 2021, Ebrahimzadeh et al., 2018, Boon et al., 2016, Ebrahimzadeh et al., 2018, Boon et al., 2016, Tse, Lakhani, et al., 2020, Saiz-Vivo et al., 2021, Guo et al., 2021, Kao et al., 2023, Oto et al., 2017, Zelnick et al., 2021, Szymanski et al., 2022 |
|  | DL | 16 | 10% | Baj et al., 2023, Attia et al., 2019, Hygrell et al., 2023, Tohyama et al., 2023, Tzou et al., 2021, Singh et al., 2022, Khurshid et al., 2022, Jalali & Lee, 2020, Chang et al., 2022, Tang et al., 2022, X. Wang et al., 2023, Biton et al., 2021, Fan et al., 2018, Bundy et al., 2020, M. Jiang et al., 2021, Pujadas et al., 2022, Raghunath et al., 2021, Zvuloni et al.2023 |
|  | ML&DL | 3 | 2% | Melzi et al., 2021, Aquino et al., 2022 |

** N: Number of articles. The articles that have more than one task have been counted twice, for example, a paper that deals with both AF detection and AF prediction is included in both rows (AF detection and AF prediction).

Recent research has explored both traditional ML and DL for improving AF prediction. ML techniques like random forests and SVMs have been applied to extract features from ECGs and other clinical data. The benefits of these approaches include interpretability and ability to identify important predictive features. DL methods, especially CNNs, have also shown promise by learning hierarchical representations directly from ECG waveforms. In general, ML approaches rely on domain expertise to extract informative signal features to train models, whereas DL models can learn directly from raw data but lack of explainability may limit interpretability. Both ML and DL have advantages that can be combined in novel hybrid models to improve performance. Overall, these AI techniques show the potential to enhance AF detection and early diagnosis from commonly available clinical data. Regarding the task of treatment selection and risk stratification, key benefits of AI models include the ability to process large datasets and identify patterns, and predictors that may not be apparent to humans. This can aid clinicians in determining the most effective treatments for individual patients and assessing their risk of adverse outcomes. Compared with traditional clinical approaches, benefits of AI include:

- Enhanced Sensitivity and Specificity: AI algorithms can analyze large volumes of data from various sources (ECG, PPG, wearables) and improve the accuracy of AF detection, reducing false positives.

- Continuous Monitoring: Wearable devices equipped with AI can provide continuous monitoring, increasing the chances of capturing intermittent AF episodes.

- Risk Stratification: AI can assist in risk stratification, helping healthcare providers identify individuals at higher risk for AF or related complications.

- Personalized Medicine: AI has the capability to customize treatment plans according to an individual's specific AF profile, thus optimizing therapy and mitigating the potential risks associated with overdiagnosis.

- Telemedicine: AI-powered telemedicine platforms can facilitate remote monitoring and diagnosis, making healthcare more accessible, especially in underserved areas.

- Data Standardization: AI can assist in standardizing data from various sources, improving interoperability and data quality.

4.3 Data types used in atrial fibrillation analysis

## ECG signals were the most common data source in the reviewed studies: approximately 75%, with 70% exclusively relying on ECG data, and 5% incorporating ECG combined with other data types (Figures 7 and 8). ECG provides critical information about heart rhythm and morphology that support AF diagnosis. With ML approaches, hand-crafted features like RR intervals, HRV, and P-wave and QRS morphology are extracted from the ECG. These features are subsequently fed into classifiers such as SVM, neural networks, or random forests. DL approaches, on the other hand, adopt a different strategy by segmenting the raw ECG signal into epochs and directly input it into a DL algorithm, such as CNN or recurrent neural network. Some studies use single-channel ECG, which facilitates continuous monitoring, while others utilize 12-lead data for better AF detection performance. Compared to single-channel ECG signals, multichannel ECG data yield higher accuracy (Baek et al., 2021; Cai et al., 2020; Cao et al., 2019). In more recent research, more studies have started to integrate ECG with other data like medical history, lab tests, and demographics. Adding this clinical and demographic data to ECG further improves model performance (E. Chen et al., 2020; Dörr et al., 2019). Similarly, from 2020, more data sources beyond ECG have been explored, including PPG (Eerikainen et al., 2020; Liao et al., 2022), video (Sun et al., 2022), and wearable sensors (Mehrang et al., 2019), which underscores the potential of alternative data sources for characterizing AF.

Figure 7. Distribution of data type used in the reviewed studies.

## In the last 5 years, some studies started to integrate ECG with other data like medical history, lab tests, and demographics. Adding this clinical and demographic data to ECG further improves model performance (E. Chen et al., 2020; Dörr et al., 2019). Since 2020, more data sources beyond ECG have been explored, including PPG (Eerikainen et al., 2020; Liao et al., 2022), video (Sun et al., 2022), and wearable sensors (Figure 8) (Mehrang et al., 2019). This demonstrates the potential of alternative data that can also characterize AF, not just ECG.

Figure 8. Data types for AF analysis by year (2013 to 2023). Distribution of data types used in the reviewed studies by publication year.

## Table 5 summarizes the various ML and DL approaches used for AF detection, prediction, and risk stratification across different signal types. ECG signals were more frequently processed using DL techniques for AF detection, whereas ML-based methods were predominantly employed for analyzing ECG data in the context of treatment selection and prediction tasks. Signals like PPG and HRV, due to their lower complexity compared to ECG, were mostly processed using ML-based approaches across all three tasks. DL is well-suited for automatic extraction of spatial and temporal features from complex waveform inputs like ECG for detection, whereas for prediction and therapy, ML methods enable effective feature engineering on ECG data along with other clinical inputs. For simpler physiological signals, ML provides effective AF monitoring performance while being more interpretable.

Table 5. Predominant AI models employed stratified by AF-related tasks and data sources.

| Task | Data | Method |
| --- | --- | --- |
| AF detection | ECG | DL |
|  | PPG | ML |
|  | HRV | ML |
|  | Clinical data | ML&DL |
|  | ECG + others | DL |
| AF treatment selection and risk stratification | ECG | ML |
|  | PPG | ML |
|  | HRV | - |
|  | Clinical data | ML |
|  | ECG + others | ML&DL |
| AF prediction | ECG | ML |
|  | PPG | ML |
|  | HRV | ML |
|  | Clinical data | DL |
|  | ECG + others | ML |

## Most of the reviewed studies (146 out of 171) used private datasets, which precludes comparison of performance across models. Table 6 summarizes the open-source datasets (all of which were ECG databases) used in the remainder of the reviewed studies.

Table 6. Summary of public ECG datasets used in the reviewed studies.

| Dataset | Data description | Used by |
| --- | --- | --- |
| MIT-BIH Arrhythmia Database | The dataset consisted of ECG recordings of 8 half-hours acquired from 47 subjects. | (Abdul-Kadir et al., 2016; Asgari et al., 2015; X. Chen et al., 2021; Lee et al., 2013; S. Liu et al., 2022; Pérez-Valero et al., 2019; Rouhi et al., 2021; Schaefer et al., 2014; Shi et al., 2020) |
| MIT-BIH Atrial Fibrillation Database | The dataset consisted in 23 records and included two ECG signals of 10 hours | (Faust et al., 2018) |
| PhysioNet/CinC 2016 Challenge database | The dataset included 3,126 heart sound recordings with a duration between 5 and 120 seconds. | (Piekarski et al., 2016) |
| PhysioNet/CinC 2017 data set, Icentia11K data set | The dataset contained continuous raw ECG signals from 11 thousand patients totaling 2 billion labelled beats. | (Asadi et al., 2023; Boon et al., 2016, 2018; Castro et al., 2021; Fan et al., 2018; Ivaturi et al., 2021; Jalali & Lee, 2020; M. Jiang et al., 2021; Tzou et al., 2021; Weimann & Conrad, 2021; P. Zhang et al., 2021) |
| PhysioNet/CinC Challenge 2020 dataset | The dataset comprised 10,330 12-lead ECG recordings ranging from 6 to over 60 seconds. | (Melzi et al., 2021; Singh et al., 2022) |

4.4 The emerging role of PPG in AF screening

## In addition to ECG, PPG has emerged as a valuable signal source for AF detection and prediction. PPG is a non-invasive optical technique that measures changes in blood volume in the peripheral microvasculature. It is commonly obtained from sensors placed on the fingertip, wrist, or earlobe. PPG signals provide information about the cardiac pulse waveform, including the timing and shape of individual heartbeat cycles.

## PPG offers several advantages over ECG for AF screening. Firstly, PPG signals can be easily acquired using wearable devices, such as smartwatches and fitness trackers, enabling long-term monitoring in real-world settings. This continuous monitoring capability increases the likelihood of capturing intermittent or paroxysmal AF episodes that may be missed during short-term ECG recordings. Secondly, PPG is a less complex and more user-friendly technology compared to ECG. It does not require electrode placement or skin preparation, making it more convenient for patients and reducing the burden on healthcare providers. Lastly, PPG can provide additional physiological information beyond the heart rate, such as arterial stiffness, blood oxygen saturation, and respiratory rate, which may have implications for AF detection and risk stratification.

## Several studies included in this review have explored the application of PPG in AF screening, demonstrating its potential in detecting and predicting AF. MacManus et al. (McManus et al., 2013) presented a smartphone algorithm to accurately detect an irregular pulse during AF, utilizing PPG data from an iPhone camera and showcasing potential real-world applications and the compatibility of PPG with various smartwatches. Chong et al. (Chong et al., 2015) proposed a smartphone-based arrhythmia discrimination algorithm utilizing PPG data from three common smartwatches, effectively distinguishing AF from normal sinus rhythm (NSR), premature ventricular contractions (PVCs) and premature atrial contraction (PACs). The algorithm employed Shannon entropy and Poincare plot, demonstrating a sensitivity of 98.3%. Bashar et al. (Bashar et al., 2019) developed a novel method for detecting AF from a smart wristwatch PPG signal. The proposed approach identifies AF episodes but also assesses whether the PPG signal is affected by motion artifacts. Han et al. presented two papers that utilize PPG data from smartwatches, delving into arrhythmia detection (D. Han et al., 2020, 2022). In the first work, (D. Han et al., 2020), the focus lies on PAC/PVC detection and its influence on enhancing AF detection accuracy. On the other hand, the second one (D. Han et al., 2022) centers around a more encompassing peak detection algorithm for precise heart rate determination across diverse cardiac rhythms.  Eerikainen et al. (Eerikainen et al., 2020) applied a random forest classifier to features extracted from PPG waveforms and accelerometer data, classifying AF with a sensitivity of 97.6%. More recent studies have employed deep learning techniques on PPG. Kwon et al. (Kwon et al., 2020) developed a CNN model to classify AF from normal sinus rhythm using PPG features extracted from smartwatch data, achieving a sensitivity of 99% and specificity of 94.3%. Mohagheghia (Mohagheghian et al., 2024) et al. proposed a DL framework utilizing a denoising autoencoder to reconstruct motion-artifact-removed PPG signals, thereby enhancing AF detection performance with a DL-classifier.

## Overall, the studies utilizing PPG in AF screening have shown promising results. PPG signals, when combined with advanced ML or DL approaches, have demonstrated the ability to accurately detect AF and predict its occurrence. The convenience and continuous monitoring capability of PPG makes it a promising tool for long-term AF screening in real-world settings. However, further research is needed to validate these findings and optimize the integration of PPG with other data sources for enhanced AF detection and prediction.

4.5 Promising approaches for real-time and continuous AF monitoring

## To enable widespread real-time and continuous AF screening, several studies have focused on developing computationally efficient methods suitable for embedded applications. Some notable examples include:

- Ukil et al. (Ukil et al., 2022) introduced AFSense-ECG, an intelligent single-lead ECG sensor capable of accurately detecting AF with a lightweight model optimized for portable sensor platforms.

- Wasserlauf et al. (Wasserlauf et al., 2019) developed an AF-detecting Apple Watch equipped with PPG sensor. A CNN is trained on heart rate, activity, and ECG data, achieving 83.3% sensitivity.

- Parmar et al. (Parmar et al., 2023) proposed an end-to-end architecture combining CNNs with wavelet transforms to classify AF, lowering the computational requirements for wearable applications.

- Hurnanen et al. (Hurnanen et al., 2017) utilized a hybrid model approach on seismocardiogram vibrations recorded by body accelerometers, achieving a true negative rate of 96.4% for real-time AF monitoring.

- Han et al. (D. Han et al., 2022) introduced a PPG-based peak detection algorithm for various arrhythmias, including AF, showcasing efficacy across Samsung Simband, Gear S3, and Galaxy Watch 3, promising real-world applicability.

- Bashar et al. (Bashar et al., 2019) devised a smartwatch-based PPG method detecting AF and evaluating motion artifacts, showing potential for real-world applications.

## The above methods demonstrate the potential of DL techniques to achieve expert-level accuracy suitable for real-time applications using minimal computational resources and portable sensor modalities. Continued efforts in this direction are needed to fully realize continuous AF screening capabilities.

# 5. CHALLENGES AND FUTURE DIRECTIONS

## In primary care and emergency units, the interpretation of complex ECGs and rapid diagnosis may be hindered by the absence of specialized personnel. Even with current computer interpretation technology, the combined accuracy of practitioners in these settings for AF diagnosis remains inadequate (Sahota G & Taggar JS, 2016). Current challenges for AI-supported AF detection, predication, and treatment are listed as follows:

- Asymptomatic Cases: AF can be asymptomatic, making it challenging to detect through traditional means, such as patient-reported symptoms alone.

- Intermittent Nature: AF episodes can be sporadic, making it difficult to capture irregular heart rhythms during routine medical check-ups.

- False Positives: Screening tools may generate false-positive results, leading to unnecessary anxiety and follow-up tests.

- Variability in Data Sources: ECG, PPG, and wearable sensors can produce vast amounts of data, and the variability in data quality and sources can pose challenges in standardization and interpretation.

## AI-based methods show promise for providing expert-level diagnoses and streamlining clinical workflows in such settings. However, it is imperative to externally validate models through diverse population assessments and clinical trials, demonstrating superiority to standard care. Addressing limitations involving physician adoption, perpetuating bias, data security, and regulation is also important. Critical future directions for both ML and DL include multimodal data integration, model interpretation, and prospective validation in diverse real-world populations. Future works should investigate the following topics:

- Multimodal data integration: Recent studies have started integrating data from different sources to get a more comprehensive view of AF. However, most works still rely on a single data modality like ECG. Incorporating additional sources like lab tests or wearable data could facilitate holistic analysis, especially for complex conditions like AF. A multimodal perspective better resembles real-world physician evaluation integrating multiple information types.

- Model interpretation: Only a few studies have incorporated explainable AI (XAI) techniques (Jo et al., 2021; Mousavi et al., 2020). Incorporating explainable AI is critical to increasing physician trust and adoption. By explaining the model's predictions, physicians can better understand how the model arrived at its diagnosis and make more informed decisions about patient care.  This could accelerate the implementation of AI tools in clinical practice.

- Uncertainty quantification: Assessing prediction uncertainty is an emerging priority in AI (Begoli et al., 2019). Such techniques are vital to gauge model reliability and confidence in clinical settings. Uncertainty quantification can also help to identify areas where the model may require further improvement or optimization. In AF research, only one study has integrated uncertainty quantification techniques (B. Chen et al., 2022). Given uncertainty quantification's success in other healthcare fields (Seoni et al., 2023), research should focus on integrating uncertainty more in AF analysis.

- Data security and regulatory: Effectively addressing limitations pertaining of AI, such as physician acceptance, bias of the model, data security, and compliance, remains important to maximize its benefits. Data security is a critical focus area to safeguard patient data from unauthorized access or misuse. Additionally, regulatory considerations must be addressed to ensure that AI models adhere to the requisite legal and ethical standards.

- Multi-centric studies: To establish robustness and generalizability, it is essential to validate models using diverse datasets and populations. AI models need to undergo training and testing on a wide range of data to reduce bias and guarantee their effectiveness across different demographics. Conducting multi-center studies would provide additional validation of their performance.

- Types of processed signals: A heightened emphasis on and the utilization of a diverse range of signals, extending beyond ECG to include HRV and PPG, can significantly enhance diagnostic insights while concurrently reducing data bandwidth and technical complexity. HRV, for instance, offers invaluable information regarding the impact of AF on cardiovascular health and streamlines data management due to its lower complexity compared to ECG. PPG, equipped with continuous monitoring capabilities, excels in detecting intermittent AF episodes and is associated with more straightforward data acquisition and processing. The incorporation of HRV and PPG in AF analysis not only increases accessibility but also aligns with the shift toward patient-centric and data-efficient healthcare approaches, making it more patient-friendly and suitable for remote monitoring.

## Figure 9 summarizes the challenges associated with AF detection through AI models and highlights potential future developments that can enhance AF analysis in healthcare. This underscores the ongoing efforts to leverage AI for improved AF analysis and the hurdles that need to be addressed in the process.

## Figure 9. Future works and challenges of the AF analysis using AI models in healthcare.

## Overall, the works reported in this review demonstrate promise for automated AF screening and diagnosis using AI techniques. AF prediction is more critical than detection since predicting AF onset allows for earlier interventions that can significantly improve outcomes and reduce complications. Both ML and DL have advantages that can be combined in novel ways to further improve AF management while enabling model explanations. Wearable sensors coupled with AI algorithms show potential for accessible and scalable AF monitoring outside clinical settings. Figure 10 proposes a cloud-based solution for secure integrated AF detection using wearable signals.

Figure 10. AI-based system for AF screening utilizing a wearable device. A smartwatch captures PPG, HRV, or ECG signals, which are then processed using AI algorithms and transmitted to the cloud. The obtained results are subsequently shared with the user and clinician, providing decision support for AF management.

Conclusion

In conclusion, this systematic review analyzed the application of AI techniques for automated AF detection, prediction, and treatment selection from 2013-2023. Both ML and DL approaches show promise in analyzing ECG, PPG, and other data sources for accurate AF screening. In particular, DL methods have achieved expert-level accuracy by directly learning representations from raw data like ECG waveforms. While great progress has been made, further research is still needed to fully address important clinical needs. Improving model interpretability and reliability assessments on diverse populations through techniques like uncertainty quantification and explainable AI will be crucial to facilitating regulatory approval and physician adoption. Larger prospective outcome studies are also warranted to fully validate AI-assisted diagnosis and management.

Portable sensor technologies integrated with AI show promise for enabling ubiquitous AF monitoring. However, more work is required to standardize data acquisition across settings and enhance data security precautions. Combining ECG with additional data modalities through multimodal modeling is proving valuable and warrants further exploration to provide more comprehensive assessments. Overall, this review demonstrates the considerable potential for AI in improving AF evaluation and management across the care continuum.

References

Abdul-Kadir, N. A., Mat Safri, N., & Othman, M. A. (2016). Dynamic ECG features for atrial fibrillation recognition. Computer Methods and Programs in Biomedicine, 136, 143–150. https://doi.org/10.1016/j.cmpb.2016.08.021

Agliari, E., Barra, A., Barra, O. A., Fachechi, A., Franceschi Vento, L., & Moretti, L. (2020). Detecting cardiac pathologies via machine learning on heart-rate variability time series and related markers. Scientific Reports, 10(1). https://doi.org/10.1038/s41598-020-64083-4

Ahmad, A., Corban, M. T., Toya, T., Attia, Z. I., Noseworthy, P. A., Lopez-Jimenez, F., Cohen, M. S., Sara, J. D., Ozcan, I., Lerman, L. O., Kapa, S., Friedman, P. A., & Lerman, A. (2021). Coronary Microvascular Dysfunction and the Risk of Atrial Fibrillation from an Artificial Intelligence-Enabled Electrocardiogram. In Circulation: Arrhythmia and Electrophysiology (Vol. 14, Issue 8, p. E009947). Lippincott Williams and Wilkins. https://doi.org/10.1161/CIRCEP.121.009947

Akerman, A. P., Porumb, M., Scott, C. G., Beqiri, A., Chartsias, A., Ryu, A. J., Hawkes, W., Huntley, G. D., Arystan, A. Z., Kane, G. C., Pislaru, S. V., Lopez-Jimenez, F., Gomez, A., Sarwar, R., O’Driscoll, J., Leeson, P., Upton, R., Woodward, G., & Pellikka, P. A. (2023). Automated Echocardiographic Detection of Heart Failure With Preserved Ejection Fraction Using Artificial Intelligence. JACC: Advances, 2(6), 100452. https://doi.org/10.1016/j.jacadv.2023.100452

Aldughayfiq, B., Ashfaq, F., Jhanjhi, N. Z., & Humayun, M. (2023). A Deep Learning Approach for Atrial Fibrillation Classification Using Multi-Feature Time Series Data from ECG and PPG. Diagnostics, 13(14). https://doi.org/10.3390/diagnostics13142442

Alhusseini, M. I., Abuzaid, F., Rogers, A. J., Zaman, J. A. B., Baykaner, T., Clopton, P., Bailis, P., Zaharia, M., Wang, P. J., Rappel, W. J., & Narayan, S. M. (2020). Machine Learning to Classify Intracardiac Electrical Patterns During Atrial Fibrillation: Machine Learning of Atrial Fibrillation. Circulation: Arrhythmia and Electrophysiology, 13(8), E008160. https://doi.org/10.1161/CIRCEP.119.008160

Aquino, G. J., Chamberlin, J., Mercer, M., Kocher, M., Kabakus, I., Akkaya, S., Fiegel, M., Brady, S., Leaphart, N., Dippre, A., Giovagnoli, V., Yacoub, B., Jacob, A., Gulsun, M. A., Sahbaee, P., Sharma, P., Waltz, J., Schoepf, U. J., Baruah, D., … Burt, J. R. (2022). Deep learning model to quantify left atrium volume on routine non-contrast chest CT and predict adverse outcomes. Journal of Cardiovascular Computed Tomography, 16(3), 245–253. https://doi.org/10.1016/j.jcct.2021.12.005

Asadi, M., Poursalim, F., Loni, M., Daneshtalab, M., Sjödin, M., & Gharehbaghi, A. (2023). Accurate detection of paroxysmal atrial fibrillation with certified-GAN and neural architecture search. Scientific Reports, 13(1). https://doi.org/10.1038/s41598-023-38541-8

Asgari, S., Mehrnia, A., & Moussavi, M. (2015). Automatic detection of atrial fibrillation using stationary wavelet transform and support vector machine. Computers in Biology and Medicine, 60, 132–142. https://doi.org/10.1016/j.compbiomed.2015.03.005

Attia, Z. I., Noseworthy, P. A., Lopez-Jimenez, F., Asirvatham, S. J., Deshmukh, A. J., Gersh, B. J., Carter, R. E., Yao, X., Rabinstein, A. A., Erickson, B. J., Kapa, S., & Friedman, P. A. (2019). An artificial intelligence-enabled ECG algorithm for the identification of patients with atrial fibrillation during sinus rhythm: a retrospective analysis of outcome prediction. The Lancet, 394(10201), 861–867. https://doi.org/10.1016/S0140-6736(19)31721-0

Baalman, S. W. E., Schroevers, F. E., Oakley, A. J., Brouwer, T. F., van der Stuijt, W., Bleijendaal, H., Ramos, L. A., Lopes, R. R., Marquering, H. A., Knops, R. E., & de Groot, J. R. (2020). A morphology based deep learning model for atrial fibrillation detection using single cycle electrocardiographic samples. International Journal of Cardiology, 316, 130–136. https://doi.org/10.1016/j.ijcard.2020.04.046

Bachi, L., Halvaei, H., Perez, C., Martin-Yebra, A., Petrenas, A., Solosenko, A., Johnson, L., Marozas, V., Martinez, J. P., Pueyo, E., Stridh, M., Laguna, P., & Sornmo, L. (2023). ECG Modeling for Simulation of Arrhythmias in Time-Varying Conditions. IEEE Transactions on Biomedical Engineering. https://doi.org/10.1109/TBME.2023.3288701

Baek, Y. S., Lee, S. C., Choi, W., & Kim, D. H. (2021). A new deep learning algorithm of 12-lead electrocardiogram for identifying atrial fibrillation during sinus rhythm. Scientific Reports, 11(1). https://doi.org/10.1038/s41598-021-92172-5

Baj, G., Gandin, I., Scagnetto, A., Bortolussi, L., Cappelletto, C., Di Lenarda, A., & Barbati, G. (2023). Comparison of discrimination and calibration performance of ECG-based machine learning models for prediction of new-onset atrial fibrillation. BMC Medical Research Methodology, 23(1). https://doi.org/10.1186/s12874-023-01989-3

Barrett, C. D., Suzuki, Y., Hussein, S., Garg, L., Tumolo, A., Sandhu, A., West, J. J., Zipse, M., Aleong, R., Varosy, P., Tzou, W. S., Banaei-Kashani, F., & Rosenberg, M. A. (2023). Evaluation of Quantitative Decision-Making for Rhythm Management of Atrial Fibrillation Using Tabular Q-Learning. Journal of the American Heart Association, 12(9). https://doi.org/10.1161/JAHA.122.028483

Bashar, S. K., Ding, E. Y., Walkey, A. J., McManus, D. D., & Chon, K. H. (2021). Atrial fibrillation prediction from critically ill sepsis patients. Biosensors, 11(8). https://doi.org/10.3390/bios11080269

Bashar, S. K., Han, D., Hajeb-Mohammadalipour, S., Ding, E., Whitcomb, C., McManus, D. D., & Chon, K. H. (2019). Atrial Fibrillation Detection from Wrist Photoplethysmography Signals Using Smartwatches. Scientific Reports, 9(1). https://doi.org/10.1038/s41598-019-49092-2

Bashar, S. K., Han, D., Zieneddin, F., DIng, E., Fitzgibbons, T. P., Walkey, A. J., McManus, D. D., Javidi, B., & Chon, K. H. (2021). Novel Density Poincaré Plot Based Machine Learning Method to Detect Atrial Fibrillation from Premature Atrial/Ventricular Contractions. IEEE Transactions on Biomedical Engineering, 68(2), 448–460. https://doi.org/10.1109/TBME.2020.3004310

Bashar, S. K., Hossain, M. B., Ding, E., Walkey, A. J., McManus, D. D., & Chon, K. H. (2020). Atrial Fibrillation Detection during Sepsis: Study on MIMIC III ICU Data. IEEE Journal of Biomedical and Health Informatics, 24(11), 3124–3135. https://doi.org/10.1109/JBHI.2020.2995139

Bedi, A., Al Masri, M. K., Al Hennawi, H., Qadir, S., & Ottman, P. (2023). The Integration of Artificial Intelligence Into Patient Care: A Case of Atrial Fibrillation Caught by a Smartwatch. Cureus. https://doi.org/10.7759/cureus.35941

Begoli, E., Bhattacharya, T., & Kusnezov, D. (2019). The need for uncertainty quantification in machine-assisted medical decision making. In Nature Machine Intelligence (Vol. 1, Issue 1, pp. 20–23). Nature Research. https://doi.org/10.1038/s42256-018-0004-1

Benjamin, E. J., Wolf, P. A., D, R. B., Silbershatz, H., Kannel, W. B., & Levy, D. (1998). Impact of Atrial Fibrillation on the Risk of Death The Framingham Heart Study. http://ahajournals.org

Bifulco, S. F., Macheret, F., Scott, G. D., Akoum, N., & Boyle, P. M. (2023). Explainable Machine Learning to Predict Anchored Reentry Substrate Created by Persistent Atrial Fibrillation Ablation in Computational Models. Journal of the American Heart Association, 12(16). https://doi.org/10.1161/JAHA.123.030500

Biton, S., Aldhafeeri, M., Marcusohn, E., Tsutsui, K., Szwagier, T., Elias, A., Oster, J., Sellal, J. M., Suleiman, M., & Behar, J. A. (2023). Generalizable and robust deep learning algorithm for atrial fibrillation diagnosis across geography, ages and sexes. Npj Digital Medicine, 6(1). https://doi.org/10.1038/s41746-023-00791-1

Biton, S., Gendelman, S., Ribeiro, A. H., Miana, G., Moreira, C., Ribeiro, A. L. P., & Behar, J. A. (2021). Atrial fibrillation risk prediction from the 12-lead electrocardiogram using digital biomarkers and deep representation learning. European Heart Journal - Digital Health, 2(4), 576–585. https://doi.org/10.1093/ehjdh/ztab071

Boon, K. H., Khalil-Hani, M., & Malarvili, M. B. (2018). Paroxysmal atrial fibrillation prediction based on HRV analysis and non-dominated sorting genetic algorithm III. Computer Methods and Programs in Biomedicine, 153, 171–184. https://doi.org/10.1016/j.cmpb.2017.10.012

Boon, K. H., Khalil-Hani, M., Malarvili, M. B., & Sia, C. W. (2016). Paroxysmal atrial fibrillation prediction method with shorter HRV sequences. Computer Methods and Programs in Biomedicine, 134, 187–196. https://doi.org/10.1016/j.cmpb.2016.07.016

Brüser, C., Diesel, J., Zink, M. D. H., Winter, S., Schauerte, P., & Leonhardt, S. (2013). Automatic detection of atrial fibrillation in cardiac vibration signals. IEEE Journal of Biomedical and Health Informatics, 17(1), 162–171. https://doi.org/10.1109/TITB.2012.2225067

Bundy, J. D., Heckbert, S. R., Chen, L. Y., Lloyd-Jones, D. M., & Greenland, P. (2020). Evaluation of Risk Prediction Models of Atrial Fibrillation (from the Multi-Ethnic Study of Atherosclerosis [MESA]). American Journal of Cardiology, 125(1), 55–62. https://doi.org/10.1016/j.amjcard.2019.09.032

Buś, S., Jędrzejewski, K., & Guzik, P. (2022). Using Minimum Redundancy Maximum Relevance Algorithm to Select Minimal Sets of Heart Rate Variability Parameters for Atrial Fibrillation Detection. Journal of Clinical Medicine, 11(14). https://doi.org/10.3390/jcm11144004

Buscema, P. M., Grossi, E., Massini, G., Breda, M., & Della Torre, F. (2020). Computer Aided Diagnosis for atrial fibrillation based on new artificial adaptive systems. Computer Methods and Programs in Biomedicine, 191. https://doi.org/10.1016/j.cmpb.2020.105401

Cai, W., Chen, Y., Guo, J., Han, B., Shi, Y., Ji, L., Wang, J., Zhang, G., & Luo, J. (2020). Accurate detection of atrial fibrillation from 12-lead ECG using deep neural network. Computers in Biology and Medicine, 116. https://doi.org/10.1016/j.compbiomed.2019.103378

Cámara-Vázquez, M. Á., Hernández-Romero, I., Morgado-Reyes, E., Guillem, M. S., Climent, A. M., & Barquero-Pérez, O. (2021). Non-invasive Estimation of Atrial Fibrillation Driver Position With Convolutional Neural Networks and Body Surface Potentials. Frontiers in Physiology, 12. https://doi.org/10.3389/fphys.2021.733449

Cao, X. C., Yao, B., & Chen, B. Q. (2019). Atrial Fibrillation Detection Using an Improved Multi-Scale Decomposition Enhanced Residual Convolutional Neural Network. IEEE Access, 7, 89152–89161. https://doi.org/10.1109/ACCESS.2019.2926749

Castro, H., Garcia-Racines, J. D., & Bernal-Norena, A. (2021). Methodology for the prediction of paroxysmal atrial fibrillation based on heart rate variability feature analysis. Heliyon, 7(11). https://doi.org/10.1016/j.heliyon.2021.e08244

Chang, C. H., Lin, C. S., Luo, Y. S., Lee, Y. T., & Lin, C. (2022). Electrocardiogram-Based Heart Age Estimation by a Deep Learning Model Provides More Information on the Incidence of Cardiovascular Disorders. Frontiers in Cardiovascular Medicine, 9. https://doi.org/10.3389/fcvm.2022.754909

Chen, B., Javadi, G., Hamilton, A., Sibley, S., Laird, P., Abolmaesumi, P., Maslove, D., & Mousavi, P. (2022). Quantifying deep neural network uncertainty for atrial fibrillation detection with limited labels. Scientific Reports, 12(1). https://doi.org/10.1038/s41598-022-24574-y

Chen, B., Maslove, D. M., Curran, J. D., Hamilton, A., Laird, P. R., Mousavi, P., & Sibley, S. (2023). A deep learning model for the classification of atrial fibrillation in critically ill patients. Intensive Care Medicine Experimental , 11(1). https://doi.org/10.1186/s40635-022-00490-3

Chen, E., Jiang, J., Su, R., Gao, M., Zhu, S., Zhou, J., & Huo, Y. (2020). A new smart wristband equipped with an artificial intelligence algorithm to detect atrial fibrillation. Heart Rhythm, 17(5), 847–853. https://doi.org/10.1016/j.hrthm.2020.01.034

Chen, X., Cheng, Z., Wang, S., Lu, G., Xv, G., Liu, Q., & Zhu, X. (2021). Atrial fibrillation detection based on multi-feature extraction and convolutional neural network for processing ECG signals. Computer Methods and Programs in Biomedicine, 202. https://doi.org/10.1016/j.cmpb.2021.106009

Cheng, P., Chen, Z., Li, Q., Gong, Q., Zhu, J., & Liang, Y. (2020). Atrial fibrillation identification with PPG signals using a combination of time-frequency analysis and deep learning. IEEE Access, 8, 172692–172706. https://doi.org/10.1109/ACCESS.2020.3025374

Chong, J. W., Esa, N., McManus, D. D., & Chon, K. H. (2015). Arrhythmia discrimination Using a smart phone. IEEE Journal of Biomedical and Health Informatics, 19(3), 815–824. https://doi.org/10.1109/JBHI.2015.2418195

Christopoulos, G., Attia, Z. I., Van Houten, H. K., Yao, X., Carter, R. E., Lopez-Jimenez, F., Kapa, S., Noseworthy, P. A., & Friedman, P. A. (2022). Artificial intelligence-electrocardiography to detect atrial fibrillation: Trend of probability before and after the first episode. European Heart Journal - Digital Health, 3(2), 228–235. https://doi.org/10.1093/ehjdh/ztac023

Daqrouq, K., Alkhateeb, A., Ajour, M. N., & Morfeq, A. (2014). Neural network and wavelet average framing percentage energy for atrial fibrillation classification. Computer Methods and Programs in Biomedicine, 113(3), 919–926. https://doi.org/10.1016/j.cmpb.2013.12.002

Denas, G., Battaggia, A., Fusello, M., Franco-Novelletto, B., Cancian, M., Scalisi, A., & Pengo, V. (2021). General population screening for atrial fibrillation with an automated rhythm-detection blood pressure device. International Journal of Cardiology, 322, 265–270. https://doi.org/10.1016/j.ijcard.2020.08.097

Desteghe, L., Raymaekers, Z., Lutin, M., Vijgen, J., Dilling-Boer, D., Koopman, P., Schurmans, J., Vanduynhoven, P., Dendale, P., & Heidbuchel, H. (2017). Performance of handheld electrocardiogram devices to detect atrial fibrillation in a cardiology and geriatric ward setting. Europace, 19(1), 29–39. https://doi.org/10.1093/europace/euw025

Diamant, N., Reinertsen, E., Song, S., Aguirre, A. D., Stultz, C. M., & Batra, P. (2022). Patient contrastive learning: A performant, expressive, and practical approach to electrocardiogram modeling. PLoS Computational Biology, 18(2). https://doi.org/10.1371/journal.pcbi.1009862

Ding, C., Xiao, R., Do, D. H., Lee, D. S., Lee, R. J., Kalantarian, S., & Hu, X. (2023). Log-Spectral Matching GAN: PPG-Based Atrial Fibrillation Detection can be Enhanced by GAN-Based Data Augmentation With Integration of Spectral Loss. IEEE Journal of Biomedical and Health Informatics, 27(3), 1331–1341. https://doi.org/10.1109/JBHI.2023.3234557

Domazetoski, V., Gligoric, G., Marinkovic, M., Shvilkin, A., Krsic, J., Kocarev, L., & Ivanovic, M. D. (2022). The influence of atrial flutter in automated detection of atrial arrhythmias - are we ready to go into clinical practice?”. Computer Methods and Programs in Biomedicine, 221. https://doi.org/10.1016/j.cmpb.2022.106901

Dörr, M., Nohturfft, V., Brasier, N., Bosshard, E., Djurdjevic, A., Gross, S., Raichle, C. J., Rhinisperger, M., Stöckli, R., & Eckstein, J. (2019). The WATCH AF Trial: SmartWATCHes for Detection of Atrial Fibrillation. JACC: Clinical Electrophysiology, 5(2), 199–208. https://doi.org/10.1016/j.jacep.2018.10.006

Duan, J., Wang, Q., Zhang, B., Liu, C., Li, C., & Wang, L. (2022). Accurate detection of atrial fibrillation events with R-R intervals from ECG signals. PLoS ONE, 17(8 August). https://doi.org/10.1371/journal.pone.0271596

Ebrahimzadeh, E., Kalantari, M., Joulani, M., Shahraki, R. S., Fayaz, F., & Ahmadi, F. (2018). Prediction of paroxysmal Atrial Fibrillation: A machine learning based approach using combined feature vector and mixture of expert classification on HRV signal. Computer Methods and Programs in Biomedicine, 165, 53–67. https://doi.org/10.1016/j.cmpb.2018.07.014

Eerikainen, L. M., Bonomi, A. G., Schipper, F., Dekker, L. R. C., De Morree, H. M., Vullings, R., & Aarts, R. M. (2020). Detecting Atrial Fibrillation and Atrial Flutter in Daily Life Using Photoplethysmography Data. IEEE Journal of Biomedical and Health Informatics, 24(6), 1610–1618. https://doi.org/10.1109/JBHI.2019.2950574

Fan, X., Yao, Q., Cai, Y., Miao, F., Sun, F., & Li, Y. (2018). Multiscaled Fusion of Deep Convolutional Neural Networks for Screening Atrial Fibrillation from Single Lead Short ECG Recordings. IEEE Journal of Biomedical and Health Informatics, 22(6), 1744–1753. https://doi.org/10.1109/JBHI.2018.2858789

Fang, B., Chen, J., Liu, Y., Wang, W., Wang, K., Singh, A. K., & Lv, Z. (2023). Dual-Channel Neural Network for Atrial Fibrillation Detection From a Single Lead ECG Wave. IEEE Journal of Biomedical and Health Informatics, 27(5), 2296–2305. https://doi.org/10.1109/JBHI.2021.3120890

Fatih Gündüz, A., & Fatih Talu, M. (2023). Atrial fibrillation classification and detection from ECG recordings. Biomedical Signal Processing and Control, 82. https://doi.org/10.1016/j.bspc.2022.104531

Faust, O., Ciaccio, E. J., & Rajendra Acharya, U. (n.d.). A Review of Atrial Fibrillation Detection Methods as a Service. https://doi.org/10.3390/ijerph17093093

Faust, O., Shenfield, A., Kareem, M., San, T. R., Fujita, H., & Acharya, U. R. (2018). Automated detection of atrial fibrillation using long short-term memory network with RR interval signals. Computers in Biology and Medicine, 102, 327–335. https://doi.org/10.1016/j.compbiomed.2018.07.001

Fernández-Ruiz, I. (2019). Artificial intelligence to improve the diagnosis of cardiovascular diseases. Nature Reviews Cardiology 2019 16:3, 16(3), 133–133. https://doi.org/10.1038/s41569-019-0158-5

Fiorina, L., Maupain, C., Gardella, C., Manenti, V., Salerno, F., Socie, P., Li, J., Henry, C., Plesse, A., Narayanan, K., Bourmaud, A., & Marijon, E. (2022). Evaluation of an Ambulatory ECG Analysis Platform Using Deep Neural Networks in Routine Clinical Practice. Journal of the American Heart Association, 11(18). https://doi.org/10.1161/JAHA.122.026196

Fuadah, Y. N., & Lim, K. M. (2022). Optimal Classification of Atrial Fibrillation and Congestive Heart Failure Using Machine Learning. Frontiers in Physiology, 12. https://doi.org/10.3389/fphys.2021.761013

Gahungu, N., Shariar, A., Playford, D., Judkins, C., & Gabbay, E. (2021). Transfer learning artificial intelligence for automated detection of atrial fibrillation in patients undergoing evaluation for suspected obstructive sleep apnoea: a feasibility study. Sleep Medicine, 85, 166–171. https://doi.org/10.1016/j.sleep.2021.07.014

García-Isla, G., Mainardi, L., & Corino, V. D. A. (2021). A Detector for Premature Atrial and Ventricular Complexes. Frontiers in Physiology, 12. https://doi.org/10.3389/fphys.2021.678558

Giskes, K., Lowres, N., Orchard, J., Li, J. L., McKenzie, K., Hespe, C. M., & Freedman, B. (2023). Increasing screening for atrial fibrillation in general practice: the Atrial Fibrillation Self-Screening, Management And guideline-Recommended Therapy (AF Self-SMART) study. Medical Journal of Australia, 218(1), 27–32. https://doi.org/10.5694/mja2.51803

Golovchiner, G., Glikson, M., Swissa, M., Sela, Y., Abelow, A., Morelli, O., & Beker, A. (2022). Automated detection of atrial fibrillation based on vocal features analysis. Journal of Cardiovascular Electrophysiology, 33(8), 1647–1654. https://doi.org/10.1111/jce.15595

Gunduz, H. (2019). Deep Learning-Based Parkinson’s Disease Classification Using Vocal Feature Sets. IEEE Access, 7, 115540–115551. https://doi.org/10.1109/ACCESS.2019.2936564

Guo, Y., Wang, H., Zhang, H., Liu, T., Li, L., Liu, L., Chen, M., Chen, Y., & Lip, G. Y. H. (2021). Photoplethysmography-Based Machine Learning Approaches for Atrial Fibrillation Prediction: A Report From the Huawei Heart Study. JACC: Asia, 1(3), 399–408. https://doi.org/10.1016/j.jacasi.2021.09.004

Gupta, K., Bajaj, V., & Ansari, I. A. (2023). Atrial Fibrillation Detection Using Electrocardiogram Signal Input to LMD and Ensemble Classifier. IEEE Sensors Letters, 7(6). https://doi.org/10.1109/LSENS.2023.3281129

Han, C., Kwon, O., Chang, M., Joo, S., Lee, Y., Lee, J. S., Hong, J. M., Lee, S. J., & Yoon, D. (2022). Evaluating the Risk of Paroxysmal Atrial Fibrillation in Noncardioembolic Ischemic Stroke Using Artificial Intelligence-Enabled ECG Algorithm. Frontiers in Cardiovascular Medicine, 9. https://doi.org/10.3389/fcvm.2022.865852

Han, D., Bashar, S. K., Lázaro, J., Mohagheghian, F., Peitzsch, A., Nishita, N., Ding, E., Dickson, E. L., Dimezza, D., Scott, J., Whitcomb, C., Fitzgibbons, T. P., McManus, D. D., & Chon, K. H. (2022). A Real-Time PPG Peak Detection Method for Accurate Determination of Heart Rate during Sinus Rhythm and Cardiac Arrhythmia. Biosensors, 12(2). https://doi.org/10.3390/bios12020082

Han, D., Bashar, S. K., Mohagheghian, F., Ding, E., Whitcomb, C., McManus, D. D., & Chon, K. H. (2020). Premature atrial and ventricular contraction detection using photoplethysmographic data from a smartwatch. Sensors (Switzerland), 20(19), 1–25. https://doi.org/10.3390/s20195683

Hartikainen, S., Lipponen, J. A., Hiltunen, P., Rissanen, T. T., Kolk, I., Tarvainen, M. P., Martikainen, T. J., Castren, M., Väliaho, E. S., & Jäntti, H. (2019). Effectiveness of the Chest Strap Electrocardiogram to Detect Atrial Fibrillation. American Journal of Cardiology, 123(10), 1643–1648. https://doi.org/10.1016/j.amjcard.2019.02.028

He, J., Liu, S., Yang, C., & Wei, Y. (2023). Value of baseline characteristics in the risk prediction of atrial fibrillation. Frontiers in Cardiovascular Medicine, 10. https://doi.org/10.3389/fcvm.2023.1068562

He, K., Liang, W., Liu, S., Bian, L., Xu, Y., Luo, C., Li, Y., Yue, H., Yang, C., & Wu, Z. (2022). Long-term single-lead electrocardiogram monitoring to detect new-onset postoperative atrial fibrillation in patients after cardiac surgery. Frontiers in Cardiovascular Medicine, 9. https://doi.org/10.3389/fcvm.2022.1001883

Hennings, E., Coslovsky, M., Paladini, R. E., Aeschbacher, S., Knecht, S., Schlageter, V., Krisai, P., Badertscher, P., Sticherling, C., Osswald, S., Kühne, M., & Zuern, C. S. (2023). Assessment of the atrial fibrillation burden in Holter electrocardiogram recordings using artificial intelligence. Cardiovascular Digital Health Journal, 4(2), 41–47. https://doi.org/10.1016/j.cvdhj.2023.01.003

Hill, N. R., Arden, C., Beresford-Hulme, L., Camm, A. J., Clifton, D., Davies, D. W., Farooqui, U., Gordon, J., Groves, L., Hurst, M., Lawton, S., Lister, S., Mallen, C., Martin, A. C., McEwan, P., Pollock, K. G., Rogers, J., Sandler, B., Sugrue, D. M., & Cohen, A. T. (2020). Identification of undiagnosed atrial fibrillation patients using a machine learning risk prediction algorithm and diagnostic testing (PULsE-AI): Study protocol for a randomised controlled trial. Contemporary Clinical Trials, 99. https://doi.org/10.1016/j.cct.2020.106191

Huang, Y. H., Alexeenko, V., Tse, G., Huang, C. L. H., Marr, C. M., & Jeevaratnam, K. (2021). ECG Restitution Analysis and Machine Learning to Detect Paroxysmal Atrial Fibrillation: Insight from the Equine Athlete as a Model for Human Athletes. Function, 2(1). https://doi.org/10.1093/function/zqaa031

Hughes, J. W., Tooley, J., Torres Soto, J., Ostropolets, A., Poterucha, T., Christensen, M. K., Yuan, N., Ehlert, B., Kaur, D., Kang, G., Rogers, A., Narayan, S., Elias, P., Ouyang, D., Ashley, E., Zou, J., & Perez, M. V. (2023). A deep learning-based electrocardiogram risk score for long term cardiovascular death and disease. Npj Digital Medicine, 6(1). https://doi.org/10.1038/s41746-023-00916-6

Hurnanen, T., Lehtonen, E., Tadi, M. J., Kuusela, T., Kiviniemi, T., Saraste, A., Vasankari, T., Airaksinen, J., Koivisto, T., & Pankaala, M. (2017). Automated Detection of Atrial Fibrillation Based on Time-Frequency Analysis of Seismocardiograms. IEEE Journal of Biomedical and Health Informatics, 21(5), 1233–1241. https://doi.org/10.1109/JBHI.2016.2621887

Hygrell, T., Viberg, F., Dahlberg, E., Charlton, P. H., Kemp Gudmundsdottir, K., Mant, J., Hörnlund, J. L., & Svennberg, E. (2023). An artificial intelligence–based model for prediction of atrial fibrillation from single-lead sinus rhythm electrocardiograms facilitating screening. Europace, 25(4), 1332–1338. https://doi.org/10.1093/europace/euad036

Ivaturi, P., Gadaleta, M., Pandey, A. C., Pazzani, M., Steinhubl, S. R., & Quer, G. (2021). A Comprehensive Explanation Framework for Biomedical Time Series Classification. IEEE Journal of Biomedical and Health Informatics, 25(7), 2398–2408. https://doi.org/10.1109/JBHI.2021.3060997

Jalali, A., & Lee, M. (2020). Atrial Fibrillation Prediction with Residual Network Using Sensitivity and Orthogonality Constraints. IEEE Journal of Biomedical and Health Informatics, 24(2), 407–413. https://doi.org/10.1109/JBHI.2019.2957809

Jeon, K. H., Jang, J. H., Kang, S., Lee, H. S., Lee, M. S., Son, J. M., Jo, Y. Y., Park, T. J., Oh, I. Y., Kwon, J. M., & Lee, J. H. (2023). Identifying Atrial Fibrillation With Sinus Rhythm Electrocardiogram in Embolic Stroke of Undetermined Source: A Validation Study With Insertable Cardiac Monitors. Korean Circulation Journal, 53(11). https://doi.org/10.4070/kcj.2023.0009

Jiang, J., Deng, H., Liao, H., Fang, X., Zhan, X., Wei, W., Wu, S., & Xue, Y. (2023). An Artificial Intelligence-Enabled ECG Algorithm for Predicting the Risk of Recurrence in Patients with Paroxysmal Atrial Fibrillation after Catheter Ablation. Journal of Clinical Medicine, 12(5). https://doi.org/10.3390/jcm12051933

Jiang, M., Gu, J., Li, Y., Wei, B., Zhang, J., Wang, Z., & Xia, L. (2021). HADLN: Hybrid Attention-Based Deep Learning Network for Automated Arrhythmia Classification. Frontiers in Physiology, 12. https://doi.org/10.3389/fphys.2021.683025

Jo, Y. Y., Cho, Y., Lee, S. Y., Kwon, J. myoung, Kim, K. H., Jeon, K. H., Cho, S., Park, J., & Oh, B. H. (2021). Explainable artificial intelligence to detect atrial fibrillation using electrocardiogram. International Journal of Cardiology, 328, 104–110. https://doi.org/10.1016/j.ijcard.2020.11.053

Kalidas, V., & Tamil, L. S. (2019). Detection of atrial fibrillation using discrete-state Markov models and Random Forests. Computers in Biology and Medicine, 113. https://doi.org/10.1016/j.compbiomed.2019.103386

Kao, Y. T., Huang, C. Y., Fang, Y. A., Liu, J. C., & Chang, T. H. (2023). Machine Learning-Based Prediction of Atrial Fibrillation Risk Using Electronic Medical Records in Older Aged Patients. American Journal of Cardiology, 198, 56–63. https://doi.org/10.1016/j.amjcard.2023.03.035

Keidar, N., Elul, Y., Schuster, A., & Yaniv, Y. (2021). Visualizing and Quantifying Irregular Heart Rate Irregularities to Identify Atrial Fibrillation Events. Frontiers in Physiology, 12. https://doi.org/10.3389/fphys.2021.637680

Khurshid, S., Friedman, S., Reeder, C., Di Achille, P., Diamant, N., Singh, P., Harrington, L. X., Wang, X., Al-Alusi, M. A., Sarma, G., Foulkes, A. S., Ellinor, P. T., Anderson, C. D., Ho, J. E., Philippakis, A. A., Batra, P., & Lubitz, S. A. (2022). ECG-Based Deep Learning and Clinical Risk Factors to Predict Atrial Fibrillation. Circulation, 145(2), 122–133. https://doi.org/10.1161/CIRCULATIONAHA.121.057480

Kim, D., Yang, P. S., Jang, E., Yu, H. T., Kim, T. H., Uhm, J. S., Kim, J. Y., Pak, H. N., Lee, M. H., Joung, B., & Lip, G. Y. (2018). 10-year nationwide trends of the incidence, prevalence, and adverse outcomes of non-valvular atrial fibrillation nationwide health insurance data covering the entire Korean population. American Heart Journal, 202, 20–26. https://doi.org/10.1016/J.AHJ.2018.04.017

Kong, D., Zhu, J., Wu, S., Duan, C., Lu, L., & Chen, D. (2019). A novel IRBF-RVM model for diagnosis of atrial fibrillation. Computer Methods and Programs in Biomedicine, 177, 183–192. https://doi.org/10.1016/j.cmpb.2019.05.028

Kudo, S., Chen, Z., Zhou, X., Izu, L. T., Chen-Izu, Y., Zhu, X., Tamura, T., Kanaya, S., & Huang, M. (2023). A training pipeline of an arrhythmia classifier for atrial fibrillation detection using Photoplethysmography signal. Frontiers in Physiology, 14. https://doi.org/10.3389/fphys.2023.1084837

Kumar, D., Peimankar, A., Sharma, K., Domínguez, H., Puthusserypady, S., & Bardram, J. E. (2022). Deepaware: A hybrid deep learning and context-aware heuristics-based model for atrial fibrillation detection. Computer Methods and Programs in Biomedicine, 221. https://doi.org/10.1016/j.cmpb.2022.106899

Kumar, D., Puthusserypady, S., Dominguez, H., Sharma, K., & Bardram, J. E. (2023). An investigation of the contextual distribution of false positives in a deep learning-based atrial fibrillation detection algorithm. Expert Systems with Applications, 211. https://doi.org/10.1016/j.eswa.2022.118540

Kwon, S., Hong, J., Choi, E. K., Lee, B., Baik, C., Lee, E., Jeong, E. R., Koo, B. K., Oh, S., & Yi, Y. (2020). Detection of atrial fibrillation using a ring-type wearable device (CardioTracker) and deep learning analysis of photoplethysmography signals: Prospective observational proof-of-concept study. In Journal of Medical Internet Research (Vol. 22, Issue 5). JMIR Publications Inc. https://doi.org/10.2196/16443

Laghari, A. A., Sun, Y., Alhussein, M., Aurangzeb, K., Anwar, M. S., & Rashid, M. (2023). Deep residual-dense network based on bidirectional recurrent neural network for atrial fibrillation detection. Scientific Reports, 13(1). https://doi.org/10.1038/s41598-023-40343-x

Lahdenoja, O., Hurnanen, T., Iftikhar, Z., Nieminen, S., Knuutila, T., Saraste, A., Kiviniemi, T., Vasankari, T., Airaksinen, J., Pankaala, M., & Koivisto, T. (2018). Atrial Fibrillation Detection via Accelerometer and Gyroscope of a Smartphone. IEEE Journal of Biomedical and Health Informatics, 22(1), 108–118. https://doi.org/10.1109/JBHI.2017.2688473

Lai, D., Bu, Y., Su, Y., Zhang, X., & Ma, C. S. (2020). Non-Standardized Patch-Based ECG Lead Together with Deep Learning Based Algorithm for Automatic Screening of Atrial Fibrillation. IEEE Journal of Biomedical and Health Informatics, 24(6), 1569–1578. https://doi.org/10.1109/JBHI.2020.2980454

Lee, J., Nam, Y., McManus, D. D., & Chon, K. H. (2013). Time-varying coherence function for atrial fibrillation detection. IEEE Transactions on Biomedical Engineering, 60(10), 2783–2793. https://doi.org/10.1109/TBME.2013.2264721

Li, H. T., Chou, C. Y., Chen, Y. T., Wang, S. H., & Wu, A. Y. (2019). Robust and Lightweight Ensemble Extreme Learning Machine Engine Based on Eigenspace Domain for Compressed Learning. IEEE Transactions on Circuits and Systems I: Regular Papers, 66(12), 4699–4712. https://doi.org/10.1109/TCSI.2019.2940642

Li, X., Shi, X., Handa, B. S., Sau, A., Zhang, B., Qureshi, N. A., Whinnett, Z. I., Linton, N. W. F., Lim, P. B., Kanagaratnam, P., Peters, N. S., & Ng, F. S. (2021). Classification of Fibrillation Organisation Using Electrocardiograms to Guide Mechanism-Directed Treatments. Frontiers in Physiology, 12. https://doi.org/10.3389/fphys.2021.712454

Li, Z., Feng, X., Wu, Z., Yang, C., Bai, B., & Yang, Q. (2019). Classification of atrial fibrillation recurrence based on a convolution neural network with SVM architecture. IEEE Access, 7, 77849–77856. https://doi.org/10.1109/ACCESS.2019.2920900

Liao, M. T., Yu, C. C., Lin, L. Y., Pan, K. H., Tsai, T. H., Wu, Y. C., & Liu, Y. Bin. (2022). Impact of recording length and other arrhythmias on atrial fibrillation detection from wrist photoplethysmogram using smartwatches. Scientific Reports, 12(1). https://doi.org/10.1038/s41598-022-09181-1

Liu, S., Wang, A., Deng, X., & Yang, C. (2022). MGNN: A multiscale grouped convolutional neural network for efficient atrial fibrillation detection. Computers in Biology and Medicine, 148. https://doi.org/10.1016/j.compbiomed.2022.105863

Liu, X., Yang, X., Wang, D., Wong, A., Ma, L., & Li, L. (2022). VidAF: A Motion-Robust Model for Atrial Fibrillation Screening From Facial Videos. IEEE Journal of Biomedical and Health Informatics, 26(4), 1672–1683. https://doi.org/10.1109/JBHI.2021.3124967

Liu, Z., Zhou, B., Jiang, Z., Chen, X., Li, Y., Tang, M., & Miao, F. (2022). Multiclass Arrhythmia Detection and Classification From Photoplethysmography Signals Using a Deep Convolutional Neural Network. Journal of the American Heart Association, 11(7). https://doi.org/10.1161/JAHA.121.023555

Lown, M., Brown, M., Brown, C., Yue, A. M., Shah, B. N., Corbett, S. J., Lewith, G., Stuart, B., Moore, M., & Little, P. (2020). Machine learning detection of atrial fibrillation using wearable technology. PLoS ONE, 15(1). https://doi.org/10.1371/journal.pone.0227401

Luongo, G., Rees, F., Nairn, D., Rivolta, M. W., Dössel, O., Sassi, R., Ahlgrim, C., Mayer, L., Neumann, F. J., Arentz, T., Jadidi, A., Loewe, A., & Müller-Edenborn, B. (2022). Machine Learning Using a Single-Lead ECG to Identify Patients With Atrial Fibrillation-Induced Heart Failure. Frontiers in Cardiovascular Medicine, 9. https://doi.org/10.3389/fcvm.2022.812719

Ma, H., & Xia, L. (2023). Atrial Fibrillation Detection Algorithm Based on Graph Convolution Network. IEEE Access, 11, 67191–67200. https://doi.org/10.1109/ACCESS.2023.3291352

Mandala, S., Pratiwi Wibowo, A. R., Adiwijaya, Suyanto, Zahid, M. S. M., & Rizal, A. (2023). The Effects of Daubechies Wavelet Basis Function (DWBF) and Decomposition Level on the Performance of Artificial Intelligence-Based Atrial Fibrillation (AF) Detection Based on Electrocardiogram (ECG) Signals. Applied Sciences (Switzerland), 13(5). https://doi.org/10.3390/app13053036

Mannhart, D., Lefebvre, B., Gardella, C., Henry, C., Serban, T., Knecht, S., Kühne, M., Sticherling, C., & Badertscher, P. (2023). Clinical validation of an artificial intelligence algorithm offering cross-platform detection of atrial fibrillation using smart device electrocardiograms. Archives of Cardiovascular Diseases, 116(5), 249–257. https://doi.org/10.1016/j.acvd.2023.04.003

Mateo, J., & Joaquín Rieta, J. (2013). Radial basis function neural networks applied to efficient QRST cancellation in atrial fibrillation. Computers in Biology and Medicine, 43(2), 154–163. https://doi.org/10.1016/j.compbiomed.2012.11.007

Matias, I., Garcia, N., Pirbhulal, S., Felizardo, V., Pombo, N., Zacarias, H., Sousa, M., & Zdravevski, E. (2021). Prediction of Atrial Fibrillation using artificial intelligence on Electrocardiograms: A systematic review. In Computer Science Review (Vol. 39). Elsevier Ireland Ltd. https://doi.org/10.1016/j.cosrev.2020.100334

McManus, D. D., Lee, J., Maitas, O., Esa, N., Pidikiti, R., Carlucci, A., Harrington, J., Mick, E., & Chon, K. H. (2013). A novel application for the detection of an irregular pulse using an iPhone 4S in patients with atrial fibrillation. Heart Rhythm, 10(3), 315–319. https://doi.org/10.1016/j.hrthm.2012.12.001

Mehrang, S., Tadi, M. J., Hurnanen, T., Knuutila, T., Lahdenoja, O., Jaakkola, J., Jaakkola, S., Vasankari, T., Kiviniemi, T., Airaksinen, J., Koivisto, T., & Pänkäälä, M. (2019). Reliability of Self-Applied Smartphone Mechanocardiography for Atrial Fibrillation Detection. IEEE Access, 7, 146801–146812. https://doi.org/10.1109/ACCESS.2019.2946117

Melzi, P., Tolosana, R., Cecconi, A., Sanz-Garcia, A., Ortega, G. J., Jimenez-Borreguero, L. J., & Vera-Rodriguez, R. (2021). Analyzing artificial intelligence systems for the prediction of atrial fibrillation from sinus-rhythm ECGs including demographics and feature visualization. Scientific Reports, 11(1). https://doi.org/10.1038/s41598-021-02179-1

Mittal, S., Oliveros, S., Li, J., Barroyer, T., Henry, C., & Gardella, C. (2021). AI Filter Improves Positive Predictive Value of Atrial Fibrillation Detection by an Implantable Loop Recorder. JACC: Clinical Electrophysiology, 7(8), 965–975. https://doi.org/10.1016/j.jacep.2020.12.006

Mohagheghian, F., Han, D., Ghetia, O., Chen, D., Peitzsch, A., Nishita, N., Ding, E. Y., Mensah Otabil, E., Noorishirazi, K., Hamel, A., Dickson, E. L., DiMezza, D., Tran, K. Van, McManus, D. D., & Chon, K. H. (2024). Atrial fibrillation detection on reconstructed photoplethysmography signals collected from a smartwatch using a denoising autoencoder. Expert Systems with Applications, 237. https://doi.org/10.1016/j.eswa.2023.121611

Moss, T. J., Calland, J. F., Enfield, K. B., Gomez-Manjarres, D. C., Ruminski, C., Dimarco, J. P., Lake, D. E., & Moorman, J. R. (2017). New-onset atrial fibrillation in the critically III. Critical Care Medicine, 45(5), 790–797. https://doi.org/10.1097/CCM.0000000000002325

Mousavi, S., Afghah, F., & Acharya, U. R. (2020). HAN-ECG: An interpretable atrial fibrillation detection model using hierarchical attention networks. Computers in Biology and Medicine, 127. https://doi.org/10.1016/j.compbiomed.2020.104057

Mousavi, S., Afghah, F., Khadem, F., & Acharya, U. R. (2021). ECG Language processing (ELP): A new technique to analyze ECG signals. Computer Methods and Programs in Biomedicine, 202. https://doi.org/10.1016/j.cmpb.2021.105959

Murat, F., Sadak, F., Yildirim, O., Talo, M., Murat, E., Karabatak, M., Demir, Y., Tan, R. S., & Acharya, U. R. (2021). Review of deep learning-based atrial fibrillation detection studies. In International Journal of Environmental Research and Public Health (Vol. 18, Issue 21). MDPI. https://doi.org/10.3390/ijerph182111302

Navoret, N., Jacquir, S., Laurent, G., & Binczak, S. (2013). Detection of complex fractionated atrial electrograms using recurrence quantification analysis. IEEE Transactions on Biomedical Engineering, 60(7), 1975–1982. https://doi.org/10.1109/TBME.2013.2247402

Ngufor, C., Yao, X., Inselman, J. W., Ross, J. S., Dhruva, S. S., Graham, D. J., Lee, J. Y., Siontis, K. C., Desai, N. R., Polley, E., Shah, N. D., & Noseworthy, P. A. (2023). Identifying treatment heterogeneity in atrial fibrillation using a novel causal machine learning method. American Heart Journal, 260, 124–140. https://doi.org/10.1016/j.ahj.2023.02.015

Nickelsen, M. N., Snoer, A., Ali, A. M., & Wienecke, T. (2017). Semi-automatic software based detection of atrial fibrillation in acute ischaemic stroke and transient ischaemic attack. European Journal of Neurology, 24(2), 322–325. https://doi.org/10.1111/ene.13199

Noseworthy, P. A., Attia, Z. I., Behnken, E. M., Giblon, R. E., Bews, K. A., Liu, S., Gosse, T. A., Linn, Z. D., Deng, Y., Yin, J., Gersh, B. J., Graff-Radford, J., Rabinstein, A. A., Siontis, K. C., Friedman, P. A., & Yao, X. (2022). Artificial intelligence-guided screening for atrial fibrillation using electrocardiogram during sinus rhythm: a prospective non-randomised interventional trial. The Lancet, 400(10359), 1206–1212. https://doi.org/10.1016/S0140-6736(22)01637-3

Olier, I., Ortega-Martorell, S., Pieroni, M., & Lip, G. Y. H. (2021). How machine learning is impacting research in atrial fibrillation: Implications for risk prediction and future management. In Cardiovascular Research (Vol. 117, Issue 7, pp. 1700–1717). Oxford University Press. https://doi.org/10.1093/cvr/cvab169

Orchard, J., Lowres, N., Freedman, S. Ben, Ladak, L., Lee, W., Zwar, N., Peiris, D., Kamaladasa, Y., Li, J., & Neubeck, L. (2016). Screening for atrial fibrillation during influenza vaccinations by primary care nurses using a smartphone electrocardiograph (iECG): A feasibility study. European Journal of Preventive Cardiology, 23(2_suppl), 13–20. https://doi.org/10.1177/2047487316670255

Oto, E., Okutucu, S., Katircioglu-Öztürk, D., Güvenir, H. A., Karaagaoglu, E., Borggrefe, M., Breithardt, G., Goette, A., Ravens, U., Steinbeck, G., Wegscheider, K., Oto, A., & Kirchhof, P. (2017). Predictors of sinus rhythm after electrical cardioversion of atrial fibrillation: Results from a data mining project on the Flec-SL trial data set. Europace, 19(6), 921–928. https://doi.org/10.1093/europace/euw144

Parmar, R., Janveja, M., Pidanic, J., & Trivedi, G. (2023). Design of DNN-Based Low-Power VLSI Architecture to Classify Atrial Fibrillation for Wearable Devices. IEEE Transactions on Very Large Scale Integration (VLSI) Systems, 31(3), 320–330. https://doi.org/10.1109/TVLSI.2023.3236530

Parsi, A., Glavin, M., Jones, E., & Byrne, D. (2021). Prediction of paroxysmal atrial fibrillation using new heart rate variability features. Computers in Biology and Medicine, 133. https://doi.org/10.1016/j.compbiomed.2021.104367

Pereira, T., Gadhoumi, K., Ma, M., Liu, X., Xiao, R., Colorado, R. A., Keenan, K. J., Meisel, K., & Hu, X. (2020). A Supervised Approach to Robust Photoplethysmography Quality Assessment. IEEE Journal of Biomedical and Health Informatics, 24(3), 649–657. https://doi.org/10.1109/JBHI.2019.2909065

Pérez-Valero, J., Victoria Caballero Pintado, M., Melgarejo, F., García-Sánchez, A. J., Garcia-Haro, J., Córdoba, F. G., García Córdoba, J. A., Pinar, E., Alberola, A. G., Matilla-García, M., Curtin, P., Arora, M., & Marín, M. R. (2019). Symbolic recurrence analysis of rr interval to detect atrial fibrillation. Journal of Clinical Medicine, 8(11). https://doi.org/10.3390/jcm8111840

Petroni, A., Cuomo, F., Scarano, G., Francia, P., Pediconi, M., & Colonnese, S. (2023). MUSE: MUlti-lead Sub-beat ECG for remote AI based atrial fibrillation detection. Journal of Network and Computer Applications, 212. https://doi.org/10.1016/j.jnca.2022.103544

Piekarski, E., Chitiboi, T., Ramb, R., Feng, L., & Axel, L. (2016). Use of self-gated radial cardiovascular magnetic resonance to detect and classify arrhythmias (atrial fibrillation and premature ventricular contraction). Journal of Cardiovascular Magnetic Resonance, 18(1). https://doi.org/10.1186/s12968-016-0306-6

Pieszko, K., Hiczkiewicz, J., Łojewska, K., Uziębło-Życzkowska, B., Krzesiński, P., Gawałko, M., Budnik, M., Starzyk, K., Wożakowska-Kapłon, B., Daniłowicz-Szymanowicz, L., Kaufmann, D., Wójcik, M., Błaszczyk, R., Mizia-Stec, K., Wybraniec, M., Kosmalska, K., Fijałkowski, M., Szymańska, A., Dłużniewski, M., … Slomka, P. J. (2023). Artificial intelligence in detecting left atrial appendage thrombus by transthoracic echocardiography and clinical features: the Left Atrial Thrombus on Transoesophageal Echocardiography (LATTEE) registry CLINICAL RESEARCH Thrombosis and antithrombotic treatment. European Heart Journal, 45, 32–42. https://doi.org/10.1093/eurheartj/ehad553

Pipilas, D., Friedman, S. F., & Khurshid, S. (2023). The Use of Artificial Intelligence to Predict the Development of Atrial Fibrillation. In Current Cardiology Reports (Vol. 25, Issue 5, pp. 381–389). Springer. https://doi.org/10.1007/s11886-023-01859-w

Pourbabaee, B., Roshtkhari, M. J., & Khorasani, K. (2018). Deep Convolutional Neural Networks and Learning ECG Features for Screening Paroxysmal Atrial Fibrillation Patients. IEEE Transactions on Systems, Man, and Cybernetics: Systems, 48(12), 2095–2104. https://doi.org/10.1109/TSMC.2017.2705582

Prabhakararao, E., & Dandapat, S. (2022). Atrial Fibrillation Burden Estimation Using Multi-Task Deep Convolutional Neural Network. IEEE Journal of Biomedical and Health Informatics, 26(12), 5992–6002. https://doi.org/10.1109/JBHI.2022.3191682

Pujadas, E. R., Raisi-Estabragh, Z., Szabo, L., Morcillo, C. I., Campello, V. M., Martin-Isla, C., Vago, H., Merkely, B., Harvey, N. C., Petersen, S. E., & Lekadir, K. (2022). Atrial fibrillation prediction by combining ECG markers and CMR radiomics. Scientific Reports, 12(1). https://doi.org/10.1038/s41598-022-21663-w

Rad, A. B., Galloway, C., Treiman, D., Xue, J., Li, Q., Sameni, R., Albert, D., & Clifford, G. D. (2021). Atrial fibrillation detection in outpatient electrocardiogram monitoring: An algorithmic crowdsourcing approach. PLoS ONE, 16(11 November). https://doi.org/10.1371/journal.pone.0259916

Radhakrishnan, T., Karhade, J., Ghosh, S. K., Muduli, P. R., Tripathy, R. K., & Acharya, U. R. (2021). AFCNNet: Automated detection of AF using chirplet transform and deep convolutional bidirectional long short term memory network with ECG signals. Computers in Biology and Medicine, 137. https://doi.org/10.1016/j.compbiomed.2021.104783

Raghunath, A., Nguyen, D. D., Schram, M., Albert, D., Gollakota, S., Shapiro, L., & Sridhar, A. R. (2023). Artificial intelligence–enabled mobile electrocardiograms for event prediction in paroxysmal atrial fibrillation. Cardiovascular Digital Health Journal, 4(1), 21–28. https://doi.org/10.1016/j.cvdhj.2023.01.002

Raghunath, S., Pfeifer, J. M., Ulloa-Cerna, A. E., Nemani, A., Carbonati, T., Jing, L., Vanmaanen, D. P., Hartzel, D. N., Ruhl, J. A., Lagerman, B. F., Rocha, D. B., Stoudt, N. J., Schneider, G., Johnson, K. W., Zimmerman, N., Leader, J. B., Kirchner, H. L., Griessenauer, C. J., Hafez, A., … Haggerty, C. M. (2021). Deep Neural Networks Can Predict New-Onset Atrial Fibrillation from the 12-Lead ECG and Help Identify Those at Risk of Atrial Fibrillation-Related Stroke. Circulation, 143(13), 1287–1298. https://doi.org/10.1161/CIRCULATIONAHA.120.047829

Rahul, J., & Sharma, L. D. (2022). Artificial intelligence-based approach for atrial fibrillation detection using normalised and short-duration time-frequency ECG. Biomedical Signal Processing and Control, 71. https://doi.org/10.1016/j.bspc.2021.103270

Ribeiro, A. H., Ribeiro, M. H., Paixão, G. M. M., Oliveira, D. M., Gomes, P. R., Canazart, J. A., Ferreira, M. P. S., Andersson, C. R., Macfarlane, P. W., Wagner, M., Schön, T. B., & Ribeiro, A. L. P. (2020). Automatic diagnosis of the 12-lead ECG using a deep neural network. Nature Communications, 11(1). https://doi.org/10.1038/s41467-020-15432-4

Ríos-Muñoz, G. R., Fernández-Avilés, F., & Arenal, Á. (2022). Convolutional Neural Networks for Mechanistic Driver Detection in Atrial Fibrillation. International Journal of Molecular Sciences, 23(8). https://doi.org/10.3390/ijms23084216

Roney, C. H., Sim, I., Yu, J., Beach, M., Mehta, A., Alonso Solis-Lemus, J., Kotadia, I., Whitaker, J., Corrado, C., Razeghi, O., Vigmond, E., Narayan, S. M., O’Neill, M., Williams, S. E., & Niederer, S. A. (2022). Predicting Atrial Fibrillation Recurrence by Combining Population Data and Virtual Cohorts of Patient-Specific Left Atrial Models. Circulation: Arrhythmia and Electrophysiology, 15(2), E010253. https://doi.org/10.1161/CIRCEP.121.010253

Rouhi, R., Clausel, M., Oster, J., & Lauer, F. (2021). An Interpretable Hand-Crafted Feature-Based Model for Atrial Fibrillation Detection. Frontiers in Physiology, 12. https://doi.org/10.3389/fphys.2021.657304

Saarinen, H. J., Joutsen, A., Korpi, K., Halkola, T., Nurmi, M., Hernesniemi, J., & Vehkaoja, A. (2023). Wrist-worn device combining PPG and ECG can be reliably used for atrial fibrillation detection in an outpatient setting. Frontiers in Cardiovascular Medicine, 10. https://doi.org/10.3389/fcvm.2023.1100127

Saglietto, A., Gaita, F., Blomstrom-Lundqvist, C., Arbelo, E., Dagres, N., Brugada, J., Maggioni, A. Pietro, Tavazzi, L., Kautzner, J., De Ferrari, G. M., & Anselmino, M. (2023). AFA-Recur: an ESC EORP AFA-LT registry machine-learning web calculator predicting atrial fibrillation recurrence after ablation. Europace, 25(1), 92–100. https://doi.org/10.1093/europace/euac145

Sahota G, & Taggar JS. (2016). Interpretation of electrocardiograms in primary care. In British Journal of General Practice (Vol. 66, Issue 644, p. 115). Royal College of General Practitioners. https://doi.org/10.3399/bjgp16X683869

Saiz-Vivo, J., Corino, V. D. A., Hatala, R., de Melis, M., & Mainardi, L. T. (2021). Heart Rate Variability and Clinical Features as Predictors of Atrial Fibrillation Recurrence After Catheter Ablation: A Pilot Study. Frontiers in Physiology, 12. https://doi.org/10.3389/fphys.2021.672896

Salinas-Martínez, R., de Bie, J., Marzocchi, N., & Sandberg, F. (2021). Detection of Brief Episodes of Atrial Fibrillation Based on Electrocardiomatrix and Convolutional Neural Network. Frontiers in Physiology, 12. https://doi.org/10.3389/fphys.2021.673819

Schaefer, J. R., Leussler, D., Rosin, L., Pittrow, D., & Hepp, T. (2014). Improved detection of paroxysmal atrial fibrillation utilizing a software-assisted electrocardiogram approach. PLoS ONE, 9(2). https://doi.org/10.1371/journal.pone.0089328

Schnabel, R. B., Marinelli, E. A., Arbelo, E., Boriani, G., Boveda, S., Buckley, C. M., Camm, A. J., Casadei, B., Chua, W., Dagres, N., De Melis, M., Desteghe, L., Diederichsen, S. Z., Duncker, D., Eckardt, L., Eisert, C., Engler, D., Fabritz, L., Freedman, B., … Kirchhof, P. (2023). Early diagnosis and better rhythm management to improve outcomes in patients with atrial fibrillation: the 8th AFNET/EHRA consensus conference. Europace, 25(1), 6–27. https://doi.org/10.1093/europace/euac062

Sehrawat, O., Kashou, A. H., & Noseworthy, P. A. (2022). Artificial intelligence and atrial fibrillation. In Journal of Cardiovascular Electrophysiology (Vol. 33, Issue 8, pp. 1932–1943). John Wiley and Sons Inc. https://doi.org/10.1111/jce.15440

Seo, H. C., Oh, S., Kim, H., & Joo, S. (2021). ECG data dependency for atrial fibrillation detection based on residual networks. Scientific Reports, 11(1). https://doi.org/10.1038/s41598-021-97308-1

Seoni, S., Jahmunah, V., Salvi, M., Barua, D., Molinari, F., Rajendra Acharya, U. (2023). Application of uncertainty quantification to artificial intelligence in healthcare: A review of last decade (2013-2023). Computers in Biology and Medicine. https://doi.org/10.1016/j.compbiomed.2023.107441

Shi, H., Wang, H., Qin, C., Zhao, L., & Liu, C. (2020). An incremental learning system for atrial fibrillation detection based on transfer learning and active learning. Computer Methods and Programs in Biomedicine, 187. https://doi.org/10.1016/j.cmpb.2019.105219

Singh, J. P., Fontanarava, J., De Masse, G., Carbonati, T., Li, J., Henry, C., & Fiorina, L. (2022). Short-Term prediction of atrial fibrillation from ambulatory monitoring ECG using a deep neural network. European Heart Journal - Digital Health, 3(2), 208–217. https://doi.org/10.1093/ehjdh/ztac014

Stergiou, S., Kollias, A., Destounis, A., Kalogeropoulos, P., Kyriakoulis, K. G., Ntineri, A., & Stergiou, G. S. (2018). Atrial Fibrillation Detection During 24-Hour Ambulatory Blood Pressure Monitoring Comparison With 24-Hour Electrocardiography Heart. https://doi.org/10.1161/HYPERTENSIONAHA

Sun, Y., Yang, Y. Y., Wu, B. J., Huang, P. W., Cheng, S. E., Wu, B. F., & Chen, C. C. (2022). Contactless facial video recording with deep learning models for the detection of atrial fibrillation. Scientific Reports, 12(1). https://doi.org/10.1038/s41598-021-03453-y

Szymanski, T., Ashton, R., Sekelj, S., Petrungaro, B., Pollock, K. G., Sandler, B., Lister, S., Hill, N. R., & Farooqui, U. (2022). Budget impact analysis of a machine learning algorithm to predict high risk of atrial fibrillation among primary care patients. Europace : European Pacing, Arrhythmias, and Cardiac Electrophysiology : Journal of the Working Groups on Cardiac Pacing, Arrhythmias, and Cardiac Cellular Electrophysiology of the European Society of Cardiology, 24(8), 1240–1247. https://doi.org/10.1093/europace/euac016

Tang, S., Razeghi, O., Kapoor, R., Alhusseini, M. I., Fazal, M., Rogers, A. J., Rodrigo Bort, M., Clopton, P., Wang, P. J., Rubin, D. L., Narayan, S. M., & Baykaner, T. (2022). Machine Learning-Enabled Multimodal Fusion of Intra-Atrial and Body Surface Signals in Prediction of Atrial Fibrillation Ablation Outcomes. Circulation: Arrhythmia and Electrophysiology, 15(8), 500–509. https://doi.org/10.1161/CIRCEP.122.010850

Tohyama, T., Ide, T., Ikeda, M., Nagata, T., Tagawa, K., Hirose, M., Funakoshi, K., Sakamoto, K., Kishimoto, J., Todaka, K., Nakashima, N., & Tsutsui, H. (2023). Deep Learning of ECG for the Prediction of Postoperative Atrial Fibrillation. In Circulation: Arrhythmia and Electrophysiology (Vol. 16, Issue 2, p. E011579). Lippincott Williams and Wilkins. https://doi.org/10.1161/CIRCEP.122.011579

Tran, K.-V., Filippaios, A., Noorishirazi, K., & Ding, E. (2023). False Atrial Fibrillation Alerts from Smartwatches are Associated with Decreased Perceived Physical Well-being and Confidence in Chronic Symptoms Management. Cardiology and Cardiovascular Medicine, 07(02). https://doi.org/10.26502/fccm.92920314

Tse, G., Lakhani, I., Zhou, J., Li, K. H. C., Lee, S., Liu, Y., Leung, K. S. K., Liu, T., Baranchuk, A., & Zhang, Q. (2020). P-Wave Area Predicts New Onset Atrial Fibrillation in Mitral Stenosis: A Machine Learning Approach. Frontiers in Bioengineering and Biotechnology, 8. https://doi.org/10.3389/fbioe.2020.00479

Tse, G., Zhou, J., Woo, S. W. D., Ko, C. H., Lai, R. W. C., Liu, T., Liu, Y., Leung, K. S. K., Li, A., Lee, S., Li, K. H. C., Lakhani, I., & Zhang, Q. (2020). Multi-modality machine learning approach for risk stratification in heart failure with left ventricular ejection fraction ≤ 45%. ESC Heart Failure, 7(6), 3716–3725. https://doi.org/10.1002/ehf2.12929

Tzou, H. A., Lin, S. F., & Chen, P. S. (2021). Paroxysmal atrial fibrillation prediction based on morphological variant P-wave analysis with wideband ECG and deep learning. Computer Methods and Programs in Biomedicine, 211. https://doi.org/10.1016/j.cmpb.2021.106396

Ukil, A., Member, S., Marin, L., Chandra Mukhopadhyay, S., & Jara, A. J. (2022). AFSense-ECG: Atrial Fibrillation Condition Sensing From Single Lead Electrocardiogram (ECG) Signals. IEEE SENSORS JOURNAL, 22(12). https://doi.org/10.13039/5011000011033

Wang, T. J., Larson, M. G., Levy, D., Vasan, R. S., Leip, E. P., Wolf, P. A., D, R. B., Murabito, J. M., Kannel, W. B., & Benjamin, E. J. (2003). Temporal Relations of Atrial Fibrillation and Congestive Heart Failure and Their Joint Influence on Mortality The Framingham Heart Study. https://doi.org/10.1161/01.CIR.0000072767.89944.6E

Wang, X., Khurshid, S., Choi, S. H., Friedman, S., Weng, L. C., Reeder, C., Pirruccello, J. P., Singh, P., Lau, E. S., Venn, R., Diamant, N., Di Achille, P., Philippakis, A., Anderson, C. D., Ho, J. E., Ellinor, P. T., Batra, P., & Lubitz, S. A. (2023). Genetic Susceptibility to Atrial Fibrillation Identified via Deep Learning of 12-Lead Electrocardiograms. Circulation: Genomic and Precision Medicine, 16(4), 340–349. https://doi.org/10.1161/CIRCGEN.122.003808

Wang, Y. C., Xu, X., Hajra, A., Apple, S., Kharawala, A., Duarte, G., Liaqat, W., Fu, Y., Li, W., Chen, Y., & Faillace, R. T. (2022). Current Advancement in Diagnosing Atrial Fibrillation by Utilizing Wearable Devices and Artificial Intelligence: A Review Study. In Diagnostics (Vol. 12, Issue 3). MDPI. https://doi.org/10.3390/diagnostics12030689

Wasserlauf, J., You, C., Patel, R., Valys, A., Albert, D., & Passman, R. (2019). Smartwatch Performance for the Detection and Quantification of Atrial Fibrillation. Circulation: Arrhythmia and Electrophysiology, 12(6). https://doi.org/10.1161/CIRCEP.118.006834

Weil, E. L., Noseworthy, P. A., Lopez, C. L., Rabinstein, A. A., Friedman, P. A., Attia, Z. I., Yao, X., Siontis, K. C., Kremers, W. K., Christopoulos, G., Mielke, M. M., Vemuri, P., Jack, C. R., Gersh, B. J., Machulda, M. M., Knopman, D. S., Petersen, R. C., & Graff-Radford, J. (2022). Artificial Intelligence–Enabled Electrocardiogram for Atrial Fibrillation Identifies Cognitive Decline Risk and Cerebral Infarcts. Mayo Clinic Proceedings, 97(5), 871–880. https://doi.org/10.1016/j.mayocp.2022.01.026

Weimann, K., & Conrad, T. O. F. (2021). Transfer learning for ECG classification. Scientific Reports, 11(1). https://doi.org/10.1038/s41598-021-84374-8

Wesselius, F. J., van Schie, M. S., de Groot, N. M. S., & Hendriks, R. C. (2022). An accurate and efficient method to train classifiers for atrial fibrillation detection in ECGs: Learning by asking better questions. Computers in Biology and Medicine, 143. https://doi.org/10.1016/j.compbiomed.2022.105331

Wu, H., Patel, K. H. K., Li, X., Zhang, B., Galazis, C., Bajaj, N., Sau, A., Shi, X., Sun, L., Tao, Y., Al-Qaysi, H., Tarusan, L., Yasmin, N., Grewal, N., Kapoor, G., Waks, J. W., Kramer, D. B., Peters, N. S., & Ng, F. S. (2022). A fully-automated paper ECG digitisation algorithm using deep learning. Scientific Reports, 12(1). https://doi.org/10.1038/s41598-022-25284-1

Wu, Z., Huang, Z., Wu, Y., Jin, Y., Wang, Y., Zhao, H., Chen, S., Wu, S., & Gao, X. (2021). Risk stratification for mortality in cardiovascular disease survivors: A survival conditional inference tree analysis. Nutrition, Metabolism and Cardiovascular Diseases, 31(2), 420–428. https://doi.org/10.1016/j.numecd.2020.09.029

Xiong, Z., Stiles, M. K., Gillis, A. M., & Zhao, J. (2022). Enhancing the detection of atrial fibrillation from wearable sensors with neural style transfer and convolutional recurrent networks. Computers in Biology and Medicine, 146. https://doi.org/10.1016/j.compbiomed.2022.105551

Yan, B. P., Lai, W. H. S., Chan, C. K. Y., Au, A. C. K., Freedman, B., Poh, Y. C., & Poh, M. Z. (2020). High-Throughput, Contact-Free Detection of Atrial Fibrillation from Video with Deep Learning. In JAMA Cardiology (Vol. 5, Issue 1, pp. 105–107). American Medical Association. https://doi.org/10.1001/jamacardio.2019.4004

Yang, M. U., Lee, D. I., & Park, S. (2022). Automated diagnosis of atrial fibrillation using ECG component-aware transformer. Computers in Biology and Medicine, 150. https://doi.org/10.1016/j.compbiomed.2022.106115

Yang, M., Zhou, R., Qiu, X., Feng, X., Sun, J., Wang, Q., Lu, Q., Zhang, P., Liu, B., Li, W., Chen, M., Zhao, Y., Mo, B., Zhou, X., Zhang, X., Hua, Y., Guo, J., Bi, F., Cao, Y., … Li, Y. G. (2020). Artificial intelligence-assisted analysis on the association between exposure to ambient fine particulate matter and incidence of arrhythmias in outpatients of Shanghai community hospitals. Environment International, 139. https://doi.org/10.1016/j.envint.2020.105745

Yao, X., Attia, Z. I., Behnken, E. M., Walvatne, K., Giblon, R. E., Liu, S., Siontis, K. C., Gersh, B. J., Graff-Radford, J., Rabinstein, A. A., Friedman, P. A., & Noseworthy, P. A. (2021). Batch enrollment for an artificial intelligence-guided intervention to lower neurologic events in patients with undiagnosed atrial fibrillation: rationale and design of a digital clinical trial. American Heart Journal, 239, 73–79. https://doi.org/10.1016/j.ahj.2021.05.006

Yu, Z., Chen, J., Liu, Y., Chen, Y., Wang, T., Nowak, R., & Lv, Z. (2022). DDCNN: A Deep Learning Model for AF Detection From a Single-Lead Short ECG Signal. IEEE Journal of Biomedical and Health Informatics, 26(10), 4987–4995. https://doi.org/10.1109/JBHI.2022.3191754

Yue, H., Liang, W., Gu, J., Zhao, X., Zhang, T., Qin, X., Zhu, G., & Wu, Z. (2019). Comparative transcriptome analysis to elucidate the therapeutic mechanism of colchicine against atrial fibrillation. Biomedicine and Pharmacotherapy, 119. https://doi.org/10.1016/j.biopha.2019.109422

Zalabarria, U., Irigoyen, E., & Lowe, A. (2020). Diagnosis of atrial fibrillation based on arterial pulse wave foot point detection using artificial neural networks. Computer Methods and Programs in Biomedicine, 197. https://doi.org/10.1016/j.cmpb.2020.105681

Zelnick, L. R., Shlipak, M. G., Soliman, E. Z., Anderson, A., Christenson, R., Lash, J., Deo, R., Rao, P., Afshinnia, F., Chen, J., He, J., Seliger, S., Townsend, R., Cohen, D. L., Go, A., & Bansal, N. (2021). Prediction of incident atrial fibrillation in chronic kidney disease the chronic renal insufficiency cohort study. Clinical Journal of the American Society of Nephrology, 16(7), 1015–1024. https://doi.org/10.2215/CJN.01060121

Zhang, O., Ding, C., Pereira, T., Xiao, R., Gadhoumi, K., Meisel, K., Lee, R. J., Chen, Y., & Hu, X. (2021). Explainability Metrics of Deep Convolutional Networks for Photoplethysmography Quality Assessment. IEEE Access, 9, 29736–29745. https://doi.org/10.1109/ACCESS.2021.3054613

Zhang, P., Chen, Y., Lin, F., Wu, S., Yang, X., & Li, Q. (2022). Semi-Supervised Learning for Automatic Atrial Fibrillation Detection in 24-Hour Holter Monitoring. IEEE Journal of Biomedical and Health Informatics, 26(8), 3791–3801. https://doi.org/10.1109/JBHI.2022.3173655

Zhang, P., Lin, F., Ma, F., Chen, Y., Fang, S., Zheng, H., Xiang, Z., Yang, X., & Li, Q. (2023). Automatic screening of patients with atrial fibrillation from 24-h Holter recording using deep learning. European Heart Journal - Digital Health, 4(3), 216–224. https://doi.org/10.1093/ehjdh/ztad018

Zhang, P., Ma, C., Sun, Y., Fan, G., Song, F., Feng, Y., & Zhang, G. (2021). Global hybrid multi-scale convolutional network for accurate and robust detection of atrial fibrillation using single-lead ECG recordings. Computers in Biology and Medicine, 139. https://doi.org/10.1016/j.compbiomed.2021.104880

Zhang, Q., Zhang, H., Zhou, K., & Zhang, L. (n.d.). Developing a Physiological Signal-Based, Mean Threshold and Decision-Level Fusion Algorithm (PMD) for Emotion Recognition (Vol. 28, Issue 4).

Zhang, X., Jiang, M., Polat, K., Alhudhaif, A., Hemanth, J., & Wu, W. (2023). Detection of Atrial Fibrillation From Variable-Duration ECG Signal Based on Time-Adaptive Densely Network and Feature Enhancement Strategy. IEEE Journal of Biomedical and Health Informatics, 27(2), 944–955. https://doi.org/10.1109/JBHI.2022.3221464

Zvuloni, E., Read, J., Ribeiro, A. H., Ribeiro, A. L. P., & Behar, J. A. (2023). On Merging Feature Engineering and Deep Learning for Diagnosis, Risk Prediction and Age Estimation Based on the 12-Lead ECG. IEEE Transactions on Biomedical Engineering, 70(7), 2227–2236. https://doi.org/10.1109/TBME.2023.3239527

Appendix

Table A1: Summary of studies on AI methods for AF detection.

| Author, year | Data type | Method | Findings | Results |
| --- | --- | --- | --- | --- |
| (Brüser et al., 2013) | Ballistocardiograms and ECG | ML | Automatic detection of AF from cardiac vibrations recorded by unobtrusive bedside sensors as a screening and monitoring tool for home healthcare. | Sensitivity: 93.8%; Specificity: 98.2% |
| (Lee et al., 2013) | ECG | ML | Automatic detection of AF from ECG recordings using time-varying coherence functions | Sensitivity: 91.1%; Specificity: 89.7% |
| (Mateo & Joaquín Rieta, 2013) | ECG | ML | To develop an efficient method for the cancellation of QRST complexes in AF ECG recordings using RBFNNs | Cross-correlation (CC) 0.95; mean square error (MSE): 0.311 |
| (Navoret et al., 2013) | ECG | ML | Utilizing recurrence quantification analysis, an automated method was developed for the detection of complex fractionated atrial electrograms from ECG recordings. | Accuracy of 80% for both SVM and KNN classifiers |
| (Daqrouq et al., 2014) | ECG | ML | A new approach for extracting features from AF was introduced, based on the average framing percentage energy (AFE) derived from the terminal wavelet packet transform (WPT) subsignals. | Accuracy: 97.9%. |
| (Schaefer et al., 2014) | ECG | ML | A software-assisted ECG approach that can improve the detection of paroxysmal AF | Sensitivity: 99.2%; Specificity: 99.2% |
| (Asgari et al., 2015) | ECG | ML | A novel method for automatic AF detection. | Sensitivity: 97%; Specificity: 97.1% |
| (Abdul-Kadir et al., 2016) | ECG | ML | Feature extraction based on second-order dynamic system and a ML method to provide higher accuracy in recognizing AF. | Accuracy: 95.3% |
| (Orchard et al., 2016) | ECG | ML | Evaluation of feasibility of using a smartphone ECG to screen for AF during influenza vaccinations by primary care nurses | Sensitivity: 95%; Specificity: 99% |
| (Piekarski et al., 2016) | free-breathing radial cardiovascular magnetic resonance (CMR) cine images | ML | Automatic classification of regular/irregular cardiac cycles and common arrhythmia patterns in AF and PVC using self-gated cardiac cine CMR with compressed sensing reconstruction. | Sensitivity: 93%; Specificity: 95%; Accuracy: 94% |
| (Nickelsen et al., 2017) | ECG | ML | A semi-automatic software to detect AF in patients with AIS or TIA | Negative predictive value (NPV): 99%; Sensitivity: 94% |
| (Hurnanen et al., 2017) | Seismocardiogram | ML & DL | A novel hybrid method to detect AF for the analysis of seismocardiograms | True positive rate (TPP): 99.9%; True negative rate (TNR): 96.4% |
| (Stergiou et al., 2018) 2018 | Ambulatory blood pressure monitoring and ECG | ML | Comparison of the accuracy of AF detection using ABPM and ECG | Sensitivity: 93%; Specificity: 87%; Accuracy: 88% |
| (Lahdenoja et al., 2018) | Accelerometer, Gyroscope, ECG | ML | Feature extraction, analysis and classification results for an AF detection system using standard mobile ECG during validation. | Sensitivity: 93.8%; Specificity: 100%; Accuracy: 97.4% |
| (Pourbabaee et al., 2018) | ECG | DL | A deep convolutional neural network for identifying AF patients. | Sensitivity: 90.2%; Accuracy: 91% |
| (Cao et al., 2019) | ECG | DL | An enhanced residual convolutional neural network, incorporating improved multi-scale decomposition, was proposed for the detection of AF. | Accuracy: 92.1%; F1score: 89.9% |
| (Z. Li et al., 2019) | ECG | DL | A CNN-SVM method for recurrence classification in AF patients. | Sensitivity: 88%; Specificity: 96%; Accuracy: 96% |
| (Mehrang et al., 2019) | Smartphone mechanocardiography (sMCG) and ECG | ML | Self-Applied Smartphone Mechanocardiography for AF and comparison with ECG-derived labels | Sensitivity: 97.6%; Specificity: 96.2% |
| (Kong et al., 2019) | ECG | ML | Risk prediction models for AF were evaluated using data from the Multi-Ethnic Study of Atherosclerosis. | Accuracy: 98.1% |
| (Dörr et al., 2019) | PPG | ML | The WATCH AF (SmartWATCHes for Detection of AF) trial detecting AF via smartwatch PPG signals compared to cardiologist ECG diagnosis. | Sensitivity: 93.7%; Specificity: 98.2%; Accuracy: 96.1% |
| (Fernández-Ruiz, 2019) | ECG | DL | A ML classifier to diagnose AF from ECG recordings | Area under the receiver operating curve (AUC): 0.97 |
| (Hartikainen et al., 2019) | ECG | ML | The specificity, sensitivity, accuracy of the chest strap ECG were assessed for detecting AF. | Sensitivity: 95.3%; Specificity: 95.5% |
| (Kalidas & Tamil, 2019) | ECG | ML | A robust automated technique, combining discrete-state Markov models and Random Forests, was developed for the detection of AF episodes in single-lead ECG signals. | Sensitivity: 97.4%; Specificity: 98.6% |
| (H. T. Li et al., 2019) | ECG | ML | A lightweight ensemble extreme learning machine engine, operating in the eigenspace domain, was designed for compressed learning of AF detection. | Accuracy: 61.9% |
| (Pérez-Valero et al., 2019) | ECG | ML | Automatic detection of AF from ECG recordings using SRQA | Sensitivity: 97.9%; Specificity; 97.6% |
| (Wasserlauf et al., 2019) | PPG | DL | A CNN for AF detection using heart rate, activity, and Apple Watch/KardiaBand ECGs validated with simultaneous insertable cardiac monitor recordings. | Sensitivity: 83.3%; Positive predictive value (PPV): 39.9%. |
| (E. Chen et al., 2020) | ECG+PPG | ML | ML model for the AF detection using PPG and single-ECG acquired with a smart wristband device | Accuracy: 94.7% |
| (Cheng et al., 2020) | PPG | DL | A time-frequency analysis with DL model for the AF detection based on PPG | Sensitivity: 98.2%; Specificity: 98%; Accuracy: 98.1% |
| Jo et al., 2021) | ECG | DL | Explainable DL model detected AF using ECG | AUC: 0.99 |
| (Agliari et al., 2020) | ECG | DL | Aim of the study is to develop a neural network that detects cardiac pathologies from HRV time series and related markers | Accuracy: 85% |
| (Alhusseini et al., 2020) | Intracardiac ECG | DL | A ML classifier to classify intracardiac electrical patterns during AF | Accuracy: 95% |
| (Baalman et al., 2020) | ECG | DL | A deep learning model based on morphological features, along with an explainability model, was developed to differentiate atrial fibrillation (AF) from sinus rhythm. | Accuracy: 96%; F1-score: 94% |
| (Bashar et al., 2020) | ECG | ML | A novel automated two-step algorithm detecting AF from ICU patient ECG signals. | Sensitivity: 100%; Specificity: 98%; Accuracy: 98.9% |
| (Buscema et al., 2020) | ECG | DL | A new classifier for AF detection from ECG recordings. | Accuracy: 95% |
| (Cai et al., 2020) | ECG | DL | A novel high-accuracy method for AF detection using deep learning. | Sensitivity: 99.1%; Specificity: 99.4%; Accuracy: 99.3% |
| (Eerikainen et al., 2020) | PPG | ML | The objective was to develop a model classifying AF, AFL, and sinus rhythm with/without beats using daily wrist PPG and acceleration data. | Sensitivity: 97.6%; Specificity: 98.2% |
| (Huang et al., 2021) | ECG | ML | ML model to detect Paroxysmal AF with ECG restitution | AUC: 0.836 |
| (Kwon et al., 2020) | PPG | DL | Assessment of a ring-type wearable device to detect AF using PPG signals | Sensitivity: 99%; Specificity: 94.3%; Accuracy: 96.9% |
| (Lai et al., 2020) | ECG | DL | A non-standardized single-lead ECG monitoring approach, combining a deep learning algorithm with a modified patch-based ECG lead, was developed for automated AF detection. | Sensitivity: 93.1%; Specificity: 93.4%; Accuracy: 93.1% |
| (Lown et al., 2020) | RR intervals from ECG | ML | An inexpensive wearable heart rate monitor, coupled with a machine learning algorithm, was created for AF detection. | Sensitivity: 99.2%; Specificity: 99.5% |
| (Mousavi et al., 2020) | ECG | DL | HAN-ECG, an interpretable bidirectional-recurrent-neural-network, was proposed for the task of AF detection. | Sensitivity: 99.1%; Specificity: 98.5%; Accuracy: 98.8% |
| (Ribeiro et al., 2020) | ECG | DL | A DNN model for automatic classification of six types of ECG abnormalities (dataset S12L-ECG). | F1-scores: 80%; Specificity: 99%. |
| (Shi et al., 2020) | ECG | DL | An incremental learning system for the AF detection from ECG recordings. | Sensitivity: 97.4%; Accuracy: 87.4% |
| (Yan et al., 2020) | Facial photoplethysmography | DL | A high-throughput, contact-free method for detecting AF from video recordings | Sensitivity: 100%; Specificity: 85% |
| (Zalabarria et al., 2020) | Arterial pulse wave signal | ML | An AF diagnosis algorithm processing parameters extracted from short heart period measures. | Sensitivity: 97.5%; Specificity: 90.1% |
| (Rad et al., 2021) | ECG | ML | An algorithm crowdsourcing approach for AF detection in outpatient electrocardiogram monitoring | Sensitivity: 93%; Specificity: 97%; F1-score: 90% |
| (Yao et al., 2021) | ECG | ML | Building infrastructure for digital trials to improve efficiency, generalizability and testing an AI algorithm validating AF detection. | Sensitivity: 79%; Specificity: 79.5%; Accuracy: 79.4% |
| (Baek et al., 2021) | ECG | DL | A deep learning-based algorithm was introduced for identifying AF during normal sinus rhythm, utilizing 12-lead ECG findings. | Sensitivity: 82%; Specificity: 78%; Accuracy: 72.8% |
| (Bashar et al., 2020) | ECG | ML | A novel machine learning method, based on density Poincaré plots, was developed for detecting AF from premature atrial contractions/premature ventricular contractions (PAC/PVCs) using ECG recordings. | Sensitivity: 98.9%; Specificity: 95.1%; Accuracy: 97.4% |
| (Cámara-Vázquez et al., 2021) | ECG imaging | DL | A non-invasive method for estimating the position of the AF driver from body surface potentials | Accuracy: 75% |
| (X. Chen et al., 2021) | ECG | DL | An automated system was designed for the early detection and treatment of AF. | Accuracy: 98.92%, a specificity of 97.04%, a sensitivity of 97.19% |
| (Denas et al., 2021) | Blood pressure | DL | Assessment of incidence rate of AF using an automated AF-detection using a sphygmomanometer | Sensitivity: 98%; Specificity: 92% |
| (Gahungu et al., 2021) | ECG | DL | This feasibility study shows potential utility of an AI to achieve automated detection of AF during polysomnographic studies | Sensitivity: 100%; Specificity: 76% |
| (García-Isla et al., 2021) | ECG | ML | A ML classifier to detect premature atrial and ventricular complexes from ECG recordings | Sensitivity: 99.2%; Specificity: 95.8% |
| (Ivaturi et al., 2021) | ECG | DL | A post-hoc framework for explainability was introduced, specifically for deep learning models applied to the classification of quasi-periodic biomedical time-series. | The accuracy so obtained is 84.38 |
| (M. Jiang et al., 2021) | ECG | DL | A hybrid deep learning network, incorporating attention mechanisms, was developed for the automated classification of arrhythmias. | Sensitivity: 85.9%; Accuracy: 86.7%; F1-score: 88% |
| (Keidar et al., 2021) | ECG | ML | A novel technique called regularogram was proposed to visualize and quantify irregular heart rate irregularities | Accuracy: 99.9% |
| (X. Li et al., 2021) | ECG | ML | A novel ECG classification framework differentiating fibrillation organization levels guidable for AF mechanism-directed treatments. | Sensitivity: 75%; Specificity: 80%; Accuracy: 78% |
| (Mittal et al., 2021) | ECG | DL | A 2-part AI filter to improve the accuracy of AF detection by and implantable loop recorder | Sensitivity: 98.1%; Specificity: 66.4% |
| (Mousavi et al., 2021) | ECG | DL | A hierarchical attention network used for the detection and interpretation of AF | Accuracy: 97% |
| (Radhakrishnan et al., 2021) | ECG | DL | A DL classifier to automate the detection of AF from ECG recordings | Sensitivity: 99.1%; Specificity: 99.1% |
| (Rahul & Sharma, 2022) | ECG | DL | An AI approach utilizing normalized and short-duration time-frequency ECG data was employed for AF detection. | Accuracy: 98.8% |
| (Rouhi et al., 2021) | ECG | ML | A feature-based model for AF detection from ECG recordings. | F-score: 74.6% |
| (Salinas-Martínez et al., 2021) | ECG | DL | A convolutional neural network approach was utilized for the automatic detection of brief AF episodes, based on electrocardiomatrix-images. | Sensitivity: 97.4% |
| (Seo et al., 2021) | ECG | DL | A deep learning-based algorithm for AF detection, employing a residual neural network, was tested on three PhysioNet databases. | Accuracy: 98% |
| (Weimann & Conrad, 2021) | ECG | DL | Utilizing transfer learning to improve convolutional neural networks classifying heart rhythm from short ECG recordings. | F1-score: 77.9% |
| (O. Zhang et al., 2021) | PPG | DL | A novel explanatory metrics leveraging domain expertise to validate a deep learning model. | Sensitivity: 99.4%; Specificity: 97.9%; Accuracy: 98.9% |
| (Buś et al., 2022) | ECG and HRV | ML | The minimum redundancy maximum relevance (MRMR) algorithm was employed to select a minimal set of heart variability parameters for AF detection. | Accuracy: 97.2% |
| (B. Chen et al., 2022) | ECG | DL | A deep approach for AF detection and estimating uncertainty in predictions. | F1-score: 67% |
| (Christopoulos et al., 2022) | ECG | DL | Characterizing temporal ECG trend for AF detection using probability trend around initial AF episode. | C statistics: 0.69 |
| (Diamant et al., 2022) | ECG | DL | Comparison between patient contrastive learning and DL for AF | F1-score: 68% |
| (Domazetoski et al., 2022) | ECG | ML | XGBoost classifier in the presence of AF | Sensitivity: 86.4%; Specificity: 95.9%; Accuracy: 93.6% |
| (Duan et al., 2022) | ECG and R-R Interval | ML | Detection of AF event using the probability density of R-R intervals from ECG | Sensitivity: 98.4%; Specificity: 98.4% |
| (Fiorina et al., 2022) | ECG | DL | An AI-based Holter analysis platform using deep neural networks for AF detection compared to conventional clinical routine in detecting a major rhythm abnormality. | Sensitivity: 98%; Specificity: 91% |
| (Fuadah & Lim, 2022) | ECG | ML | A DL classifier to optimally classify AF and congestive heart failure from ECG recordings | Accuracy: 97% |
| (Golovchiner et al., 2022) | Speech signals | ML & DL | Evaluation of the usefulness of vocal features analysis for the detection of AF | Sensitivity: 95%; Specificity: 82%; |
| (K. He et al., 2022) | ECG | ML | A machine learning classifier was developed to detect post-operative AF from single-lead ECG recordings. | Accuracy: 80% |
| (Kumar et al., 2022) | ECG | DL | A novel hybrid model, combining deep learning and context-aware heuristics, was proposed for AF detection in ambulatory ECG data collected under free-living conditions. | Sensitivity: 97.9%; Specificity: 98.3%; Accuracy: 98.1% |
| (Liao et al., 2022) | PPG | ML | The impact of recording length and the presence of other arrhythmias on AF detection accuracy using smartwatches was evaluated. | AUC: 0.9676 |
| (X. Liu et al., 2022) | PPG | DL | Classification of multiclass arrhythmias from PPG signals using DL techniques. | Sensitivity: 75.8%; Specificity: 96.9%; Accuracy: 85% |
| (S. Liu et al., 2022) | EEG | DL | A robust and efficient multiscale grouped convolutional neural network method for clinical AF detection from ECGs. | Accuracy: 95.9% |
| (X. Liu et al., 2022) | Facial videos | DL | A model for AF screening from facial videos addressing motion disturbances like head movements and expression changes. | Accuracy: 90% |
| (Luongo et al., 2022) | ECG and RR interval | ML | Utilizing machine learning techniques, a single-lead ECG was employed to identify patients with AF-induced heart failure. | Sensitivity: 91.4%; Specificity: 64.7%; Accuracy: 73.5% |
| (Prabhakararao & Dandapat, 2022) | ECG | DL | A multi-task deep convolutional neural network was developed for estimating AF burden from long-term ambulatory ECG recordings. | Sensitivity: 96.5%; Specificity: 97.9% |
| (Ríos-Muñoz et al., 2022) | Endocardial electrograms (EGMs). | DL | A CNN-based approach to detect AF starting from endocardial electrograms (EGMs). | Matthews correlation coefficient: 0.680, |
| (Ukil et al., 2022) | ECG | DL | An intelligence-embedded single lead ECG sensor (AFSense-ECG) for the AF detection | F1-score: 86.1% |
| (Wesselius et al., 2022) | ECG | ML | A method for the efficient and accurate training of classifiers for AF detection in ECGs | F1-score: 89% |
| (H. Wu et al., 2022) | ECG | DL | A fully automated online ECG digitization tool converting scanned paper ECGs into digital signals. | Correlation coefficient: 0.96 |
| (Xiong et al., 2022) | ECG | DL | An open-source deep learning framework was introduced for automatic AF detection, utilizing the largest publicly available single-lead ECG dataset obtained through a mobile Kardia device. The framework incorporated style transfer-driven data augmentation. | F1 score of 96.4% |
| (M. U. Yang et al., 2022) | ECG | DL | This study proposed a component-aware transformer that segments the ECG into components and utilizes vectorization with length/type data as input for the transformer model. | Sensitivity: 92.9%; Specificity: 92.6% |
| (Yu et al., 2022) | ECG | DL | A two-channel convolutional neural network, coupled with data augmentation, was suggested for detecting AF from short single-lead ECG recordings. | Sensitivity: 82.5%; Specificity: 90.9%; Accuracy: 93.1% |
| (P. Zhang et al., 2022) | ECG | DL | A novel semi-supervised learning method for paroxysmal AF detection in 24h Holter data using modified low-entropy unlabeled sample labels to train a deep learning model. | Sensitivity: 97.8%; Specificity: 97.9%; Accuracy: 97.9% |
| (Akerman et al., 2023) | Echocardiogram video | DL | Applied CNN to analyze a single apical 4-chamber echocardiogram video clip to detect AF | Sensitivity: 87.8%; Specificity: 81.9% |
| (Aldughayfiq et al., 2023) | ECG, PPG | DL | 1D CNN and BiLSTM model for AF classification using multi-feature time series data from ECG and PPG. CNN captures local patterns and BiLSTM models the temporal dependencies. | Accuracy of 95%; Sensitivity: 85% |
| (Bedi et al., 2023) | ECG, PPG | DL | Smartwatches use pulse waves and deep neural network algorithms through optical sensors for real-time recording and analysis of heart rate and rhythm to help detect atrial fibrillation. | Sensitivity: 41% |
| (Gupta et al., 2023) | ECG | ML | A new hybrid approach for automatic ECG classification using local mean decomposition and ensemble boosted trees classifier. | Accuracy: 92.3% |
| (Asadi et al., 2023) | ECG | DL | A certified generative adversarial network and neural architecture search for accurate paroxysmal AF detection. | Accuracy: 99% |
| (Bachi et al., 2023) | ECG | ML & DL | An ECG simulator modeling arrhythmias and noise by introducing time-varying signal characteristics. | Sensitivity: 99%; Positive predicted value (PPV): 4.6% |
| (Biton et al., 2023) | ECG | DL | Generalizable and robust DL algorithm for the detection of AF from ECG recordings | Sensitivity: 93%; Specificity: 96% |
| (B. Chen et al., 2023) | ECG | DL | A DL model to classify AF in critically ill patients | Sensitivity of 84%; Specificity of 89% |
| (Ding et al., 2023) | PPG | DL | GAN for PPG signal augmentation to tackle class imbalance problem in training data. Integrates spectral information into GAN's loss function. | Accuracy: 96%; Sensitivity: 92% |
| (Fang et al., 2023) | ECG | DL | A dual-channel neural network architecture was proposed for AF detection using single-lead ECG waveforms. | F1-score: 83% |
| (Gunduz, 2019) | ECG | ML & DL | P waves and RR interval differences are extracted from ECG data and used as input to a BiLSTM network | Accuracy: 87.6% |
| (Hennings et al., 2023) | ECG | DL | Comparison between AF burden assessment performed manually by physicians and an AI-based tool in Holter ECG recording | Correlation: 100% |
| (Kudo et al., 2023) | PPG | DL | A training pipeline for a CNN classifier to detect AF from PPG signals | Accuracy: 87% |
| (Kumar et al., 2023) | ECG | DL | CNN + LSTM layer and analysis of false positive cases detected by the network | Sensitivity: 96.6% |
| (Laghari et al., 2023) | ECG | DL | Residual dense network based on bidirectional recurrent neural network (RNN) | Accuracy: 97.7%; Sensitivity: 93.1%; Specificity: 98.7% |
| (Ma & Xia, 2023) | ECG | DL | An AF detection algorithm based on a graph convolution network, named AF-GCN, was introduced. | Sensitivity: 99%; Specificity: 99% |
| (Mandala et al., 2023) | ECG | ML | Effects of Daubechies wavelet basis function and decomposition level on AF detection performance when features were wavelet coefficients. | Accuracy: 94.1%; Sensitivity: 97.5% |
| (Mannhart et al., 2023) | ECG | DL | Compared performance of manufacturers' algorithms and DL-based algorithm using five smart devices. DL algorithm significantly reduced inconclusive readings while maintaining high accuracy. | Accuracy: 98% |
| (Parmar et al., 2023) | ECG and PPG | DL | An end-to-end edge-enabled machine learning-based VLSI (Very Large Scale Integration) architecture was proposed for classifying ECG excerpts as either with or without AF. | Accuracy: 92.3% |
| (Q. Zhang et al., 2023) | ECG | DL | CNNs and LSTMs to detect AF episodes from 24-hour Holter monitoring RR interval data for automatic screening. | Sensitivity: 99%; Specificity: 98.5% |

Table A2: Summary of studies on AI methods for treatment selection and risk stratification

| Author, year | Data type | Method | Findings | Results |
| --- | --- | --- | --- | --- |
| (Moss et al., 2017), | ECG | ML | Evaluation of new-onset AF association with outcomes including ICU length of stay and survival. | C-statistic: 0.71 |
| (Yue et al., 2019) | Clinical data | ML | Comparative transcriptome analysis was conducted to identify genes that exhibit differential expression in AF patients treated with colchicine compared to those not treated with colchicine. | Accuracy: 98.7% |
| (Hill et al., 2020) | ECG | ML | Evaluation of the effectiveness of the PULsE-AI algorithm in identifying undiagnosed AF patients. | Sensitivity: 75% |
| (Pereira et al., 2020) | PPG, ECG | ML | Explainability metrics were employed to assess the quality of photoplethysmography using deep convolutional networks. | 0.9477 accuracy |
| (Tse, Zhou, et al., 2020) | Cardiac ultrasound imaging | ML & DL | A machine learning approach was utilized to stratify the risk of adverse outcomes in heart failure patients with a left ventricular ejection fraction ≤45%. | Sensitivity: 88.1%; F1-score: 91% |
| (M. Yang et al., 2020) | ECG | ML | AI model to assist in the analysis of the association between exposure to PM2.5 and the incidence of arrhythmias | Sensitivity: 94.1%; Specificity: 94.3% |
| (Ahmad et al., 2021) | ECG | ML | AI-enabled electrocardiogram (AI-ECG) for investigation about the association between coronary microvascular dysfunction (CMD) and the risk of AF | Sensitivity: 82.3%; Specificity: 83.4% |
| (Z. Wu et al., 2021) | Clinical data | ML | A machine learning model utilizing survival conditional inference trees was optimized to study the prognosis of cardiovascular disease | Accuracy: 87.9% |
| (C. Han et al., 2022) | ECG | ML & DL | An artificial intelligence-enabled ECG algorithm was employed to evaluate the risk of paroxysmal atrial fibrillation (AF) in noncardioembolic ischemic stroke. | Accuracy: 99% |
| (Weil et al., 2022) | ECG | DL | A deep learning model was capable of identifying patients at risk of AF within two weeks following a 24-hour ambulatory ECG, even in the absence of documented AF. | Odds ratio (OR): 4.61 |
| (Noseworthy et al., 2022) | ECG | ML & DL | An AI algorithm was utilized to detect AF from ECGs and classify patients into high-risk or low-risk groups. | Odds ratio (OR): 4.98 |
| (Barrett et al., 2023) | Clinical data | ML & DL | AI framework that integrated unsupervised learning to identify clinically meaningful patient clusters, then fitted a Q-table to select optimal treatment using reinforcement learning. | Agreement with treatment selections by Q-table was associated with fewer deaths and longer time to event. |
| (Giskes et al., 2023) | Clinical data | DL | To assess whether AF self-screening stations in general practice waiting rooms improve AF screening, diagnosis, and stroke risk management. | AF self-screening stations improved AF screening |
| (J. He et al., 2023) | ECG | ML | This study aims to explore the possibility of other AF risk predictors. | Sensitivity: 55.7%; Specificity: 64.8%; Accuracy: 60.4% |
| (J. Jiang et al., 2023) | Clinical data | ML | A retrospective cohort study with a control group employed a machine learning-based analysis to examine risk factors for AF recurrence after the Cox-Maze IV procedure in patients with AF and chronic valvular disease. | AUC: 0.768 |
| (Ngufor et al., 2023) | Clinical data | ML | Identifying treatment heterogeneity in AF using a novel causal machine learning method. | ML identified patient subgroup characterizing the head-to-head treatment effects |
| (Pieszko et al., 2023) | Clinical data | ML | Developed an AI model (LAT-AI) to predict left atrial appendage thrombus based on clinical features | AUC: 0.81 |
| (Saarinen et al., 2023) | ECG, PPG | ML | Validation of a wrist-worn device combining PPG and ECG for AF detection in an outpatient setting. PPG segments and ECG records were compared to Holter ECG annotations. | Sensitivity: 95.6%; Specificity: 99.2% |
| (Tran et al., 2023) | ECG | DL | An innovative deep learning method was developed to detect false AF alerts from smartwatches, which can be linked to reduced perceived physical well-being and confidence in managing chronic symptoms. | DL approach reduced the number of false positive alerts by 83% |

Table A3: Summary of studies on AI methods for AF prediction

| Author, year | Data type | Method | Findings | Results |
| --- | --- | --- | --- | --- |
| (Boon et al., 2016) | ECG | DL | A deep neural network demonstrated the ability to predict new-onset AF from resting 12-lead ECG, providing potential assistance in identifying individuals at risk of AF-related stroke. | Accuracy: 80% |
| (Oto et al., 2017) | ECG | DL | Predictors of sinus rhythm restoration following electrical cardioversion of AF were investigated. | From data mining AUC ranged from 0.483 to 0.574 |
| (Boon et al., 2018) | ECG | ML | A ML method for the prediction of the onset of paroxysmal AF, using HRV segments | Accuracy: 87.7% |
| (Ebrahimzadeh et al., 2018) | Electrical cardioversion | ML | Identification of predictors of sinus rhythm after electrical cardioversion of AF | Sensitivity: 100%; Specificity: 95.5%; Accuracy: 98.2% |
| (Attia et al., 2019) | ECG | ML | A method to predict the paroxysmal AF, using shorter HRV signals. | AUC: 0.90 |
| (Bashar, Ding, et al., 2021) | ECG | ML | SVM and RF were then trained on the combinations of linear, time-frequency, and nonlinear features from ECG signals, to predict AF onset | SVM 80% sensitivity, 100% specificity, 90% accuracy, while the RF achieved 88% AF prediction accuracy. |
| (Christopoulos et al., 2022) | ECG | ML | A ML approach that can accurately predict the onset of AF | AUC: 0.87 |
| (Jalali & Lee, 2020) | ECG | DL | Machine learning for a rapid, inexpensive, point-of-care means of identifying patients with AF. | Sensitivity: 88.9%; Accuracy: 90.1% |
| (Tse, Zhou, et al., 2020) | ECG | DL | Aim of the study is to develop a ResNet classifier that can be used to predict AF from ECG recordings | Accuracy: 84%; F-score: 0.84 |
| (Aquino et al., 2022) | Data from ischemic stroke patients | DL | One-fifth of ischemic strokes are ESUS (embolic strokes of undetermined source). | AUC: 0.86 |
| (Castro et al., 2021) | ECG | ML | The study aims to develop a machine learning classifier to predict new-onset AF in patients with mitral stenosis. | Precision: 93.2% |
| (Melzi et al., 2021) | Chest CT imaging | ML & DL | A deep learning model was developed to perform automatic segmentation and measurement of left atrial volumes using routine non-contrast computed tomography (NCCT) scans, enabling cardiovascular outcome prediction. | AUC: 0.79 |
| (Parsi et al., 2021) | ECG | ML | A methodology for paroxysmal AF prediction based on heart rate variability feature analysis. | Sensitivity: 97.8%; Specificity: 91.1%; Accuracy: 95% |
| (Saiz-Vivo et al., 2021) | ECG | ML & DL | Artificial intelligence systems were employed for AF prediction from sinus-rhythm ECGs. | Sensitivity: 76%; Specificity: 87%; Accuracy: 82% |
| (Tzou et al., 2021) | ECG | ML | Paroxysmal AF prediction was achieved through analysis of morphological variant P-waves using wideband ECG and deep learning techniques. | Sensitivity: 81%; Specificity: 80%; Accuracy: 81% |
| (Guo et al., 2021) | Heart rate | ML | Machine learning algorithms were utilized to predict AF recurrence after catheter ablation. | AUC: 0.94 |
| (Zelnick et al., 2021) | ECG | DL | A DL-enabled method for AF risk prediction | C-index: 0.67 |
| (Chang et al., 2022) | Cardiac biomarker and clinical data | ML | A prediction model developed using ML methods for cardiovascular disorders | Cases with a difference of more than 7 years showed a higher risk of all-cause mortality. Hazard ratio (HR): 1.61 |
| (Khurshid et al., 2022) | ECG | ML | A ML classifier to predict mortality in elderly subjects who are screened for AF | AUC: 0.80 |
| (Roney et al., 2022) | MRI | ML | Machine learning methods were employed to complement biophysical simulations and encode greater interindividual variability, enabling the prediction of long-term AF recurrence after ablation in large cohorts. | AUC: 0.85 |
| (Singh et al., 2022) | ECG | DL | Short-term AF prediction was performed using a deep neural network trained on ambulatory ECG monitoring data. | Sensitivity: 76%; Specificity: 78%; AUC: 0.79 |
| (Szymanski et al., 2022) | ECG | DL | A DL model to predict AF using ECG-based and clinical risk factors | Sensitivity: 51%; Specificity: 78% |
| (Tang et al., 2022) | ECG | ML | A ML classifier that can be used to predict the outcomes of AF ablation from ECG data. | AUC: 0.73 |
| (Bifulco et al., 2023) | Cardiac MRI imaging | ML | Random forest classifiers and computational modeling to predict regions of atrial tissue that could sustain arrhythmias. | AUC: 0.91 |
| (Baj et al., 2023) | Medical cost information | ML | Investigation of an AF risk prediction algorithm with opportunistic screening in primary care and associated budget impact assessment. | AUC: 0.80 |
| (Hygrell et al., 2023) | ECG+ brain MRI | ML & DL | To investigate whether AI-enabled ECG assessment of AF risk predicts cognitive decline and cerebral infarcts. | AUC: 0.80 |
| (Hughes et al., 2023) | ECG | DL | The CNN trained on ECGF data predicted 5-year risk of AF | AUC: 0.75 |
| (Kao et al., 2023) | ECG | DL | Comparison between the discrimination and calibration performance of the three classifiers | AUC: 0.74 |
| (Jeon et al., 2023) | ECG | DL | Custom CNN architecture integrated within implantable cardiac monitors | AUC: 0.827 |
| (Pipilas et al., 2023) | ECG | DL | CNN trained on ECG data to estimate 5-year AF risk, found ECG provided additional predictive value over clinical factors alone. | AUC: 0.85 |
| (A. Raghunath et al., 2023) | ECG | DL | CNN model to predict AF events from sinus rhythm mobile ECGs obtained from the AliveCor KardiaMobile 6L device. | AUC: 0.76; Sensitivity: 70.3% |
| (Saglietto et al., 2023) | Clinical data | ML | Random forest classifier to predict 1-year risk of recurrent AF after ablation | AUC: 0.721 |
| (Schnabel et al., 2023) | ECG | DL | CNN to predict AF within the next 31 days based on 12-channel ECG in sinus rhythm. | AUC: 0.87 |
| (X. Wang et al., 2023) | ECG | DL | Identification of Genetic Susceptibility to AF through DL Analysis of 12-Lead Electrocardiograms. | Three generic markers have been identified as susceptible to AF |
| (Tohyama et al., 2023) | ECG | DL | A ML model that can be used to predict AF from ECG recordings | C-statistic: 0.83 |

Table A4: Summary of studies on AI methods for the combination of two tasks (for AF prediction, AF detection and for treatment selection and risk stratification)

| Author, year | Data type | Method | Findings | Results |
| --- | --- | --- | --- | --- |
| (Desteghe et al., 2017) | ECG | ML | Evaluation of handheld electrocardiogram devices' performance detecting AF in a cardiology and geriatric ward setting. | Sensitivity: 78.9%; Specificity: 97.9% |
| (Fan et al., 2018) | ECG | DL | An MS-CNN model for AF classification using 5s ECG recordings, compared to shallow/VisualGeometry CNNs. | Accuracy: 98.1% |
| (Bundy et al., 2020) | ECG | ML | Assessment of AF risk prediction models from the Multi-Ethnic Study of Atherosclerosis (MESA). | C-statistic: 0.802 |
| (S. Raghunath et al., 2021) | ECG | DL | A deep neural network model was developed to predict new-onset AF using resting 12-lead ECG data. | AUC: 0.85 |
| (Biton et al., 2021) | ECG | DL | This study aims to assess whether raw 12-lead ECG/clinical data combined are predictive of AF development. | AUC: 0.84 |
| (Pujadas et al., 2022) | ECG | ML | Machine learning models discriminating prevalent AF using image-derived radiomics phenotypes and ECG features. | AUC: 0.88 |