Combining Raman Spectroscopy and Dielectrophoresis for rapid determination of bacterial susceptibility to antibiotics
G. Barzan1,2, A. Sacco1,2, L. Mandrile1, A. M. Giovannozzi1, J. Brown3, C. Portesi1, K. Hardie3, M. Alexander4, P. Williams3, and A. M. Rossi1 

1Quantum Metrology and Nano Technologies Division, Istituto Nazionale di Ricerca Metrologica (INRiM), Strada delle Cacce, 91, 10135 Turin, Italy 
2Departement of Electronics and Telecommunications, Politecnico di Torino, Corso Duca degli Abruzzi, 24, 10129 Turin, Italy
3School of Life Sciences, University of Nottingham, Nottingham NG7 2RD, UK;
4School of Pharmacy, University of Nottingham, Nottingham NG7 2RD, UK
Keywords: Raman Spectroscopy, dielectrophoresis, E. coli, antibiotic resistance 
The development of rapid, sensitive and specific methods to determine antibiotic susceptibility of bacteria is  required to help reduce the widespread misuse of antibiotics and the growing multidrug-resistance problem [1]. This study presents a combined Raman spectroscopic and dielectrophoretic (DEP) approach to obtain direct, real-time measurements of a suspension of planktonic bacteria without the need of any labelling or other time-consuming sample preparation processes. Thanks to the spatial non-uniform DEP fields, bacteria are easily captured and concentrated under the laser spot of the Raman apparatus, increasing the sensitivity of the Raman technique [2]. Using our Raman-DEP device, we demonstrated the susceptibility of E. coli towards the commonly prescribed second-generation fluoroquinolone [3] ciprofloxacin, after only one hour of treatment, by monitoring spectral changes in the chemical fingerprint of the bacteria, which are related to the mode of action of the drug. Comparison between treated and untreated samples were performed at the MIC (minimum inhibitory concentration) and sub-MIC levels for different time points over a 3 hour span, and the Raman data were processed by supervised multivariate tools, such as PLS-Discriminant Analysis and PLS-Regression, for the calibration of descriptive models of cellular modifications. The models were validated using the cross-validation strategy. Simultaneously, standard microbiological assays based on cell viability, turbidity test and flurescence microscopy, were carried out as reference methods to correlate the observed Raman response and to build strong predictive models. These supervised multivariate Raman data analysis were also succesfully applied for class prediction in a ciprofloxacin tolerance assay [4] induced by the pre-treatment of E. coli with the antibacterial agent triclosan, present in many consumer products (toothpaste, soaps, detergents, toys), demonstrating high specificity and acceptable sensitivity. 

This Raman-DEP method could open the way to rapid bacterial AST without the necessity of time consuming sample preparation and the overnight incubation required by classical microbiological techniques.
References:

[1] World-Health-Organisation in Antimicrobial resistance, global report on surveillance, Vol. 2014, 2014.
[2] Schröder, U.-C, Kirchhoff, J., Hübner, U, Mayer, G., Glaser, U., Henkel, T., Pfister,W.,  Fritzsche, W., Popp,U. and  Neugebauer, U.  2017, J. Biophotonics, 10, 1547–1557.
[3] Fasugba, O., Gardner, A., Mitchell, B.G.,  Mnatzaganian, G. 2015, BMC Infect Dis, 15.
[4] Westfall, C., Flores-Mireles, A.L., Robinson,J.I., Lynch, A.J.L.,  Hultgren, S., Henderson, J.P., Levin, P.A.  2019, Antimicrob Agents Chemother.
